## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
A01296 | GP05MOAS-GL523 | 523 | 1 | 2015-06-02 | 4:40 |  | 49° 57.965' N | 144° 14.784' W | 1000 | TN-323 |  | 49.9661 | -144.2464

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GP05MOAS-GL523-01-FLORDM000 | A01296 | 523 | 1 | N00643 | FLBBSLC-3580 | CC_scattering_angle | 140 | Constant.
GP05MOAS-GL523-01-FLORDM000 | A01296 | 523 | 1 | N00643 | FLBBSLC-3580 | CC_measurement_wavelength | 700 | Constant.
GP05MOAS-GL523-01-FLORDM000 | A01296 | 523 | 1 | N00643 | FLBBSLC-3580 | CC_angular_resolution | 1.096 | Constant.
GP05MOAS-GL523-01-FLORDM000 | A01296 | 523 | 1 | N00643 | FLBBSLC-3580 | CC_depolarization_ratio | 0.039 | Constant.
GP05MOAS-GL523-02-DOSTAM000 | A01296 | 523 | 1 | N00642 | 362 |  |  | No calibration coefficient
GP05MOAS-GL523-04-CTDGVM000 | A01296 | 523 | 1 | N00641 | 9235 |  |  | No calibration coefficient
GP05MOAS-GL523-00-ENG000000 | A01296 | 523 | 1 |  | 523 |  |  | No calibration coefficient