## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
A00967 | GI05MOAS-GL485 | 485 | 1 | 2015-08-17 | 10:36 |  | 59° 51.492' N | 39° 07.080' W | 1000 | AT-30-01 |  | 59.8582 | -39.118

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GI05MOAS-GL485-01-FLORDM000 | A00967 | 485 | 1 | N00536 | FLBBCDSLC-3549 | CC_scattering_angle | 140 | Constant.
GI05MOAS-GL485-01-FLORDM000 | A00967 | 485 | 1 | N00536 | FLBBCDSLC-3549 | CC_measurement_wavelength | 700 | Constant.
GI05MOAS-GL485-01-FLORDM000 | A00967 | 485 | 1 | N00536 | FLBBCDSLC-3549 | CC_angular_resolution | 1.096 | Constant.
GI05MOAS-GL485-01-FLORDM000 | A00967 | 485 | 1 | N00536 | FLBBCDSLC-3549 | CC_depolarization_ratio | 0.039 | Constant.
GI05MOAS-GL485-02-DOSTAM000 | A00967 | 485 | 1 | N00535 | 322 |  |  | No calibration coefficient
GI05MOAS-GL485-04-CTDGVM000 | A00967 | 485 | 1 | N00534 | 9196 |  |  | No calibration coefficient
GI05MOAS-GL485-00-ENG000000 | A00967 | 485 | 1 | OL000120 | 485 |  |  | No calibration coefficient