## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
A01432 | GP05MOAS-GL537 | 537 | 1 | 2015-06-02 | 11:05 |  | 50° 10.529' N | 144° 33.207' W | 1000 | TN-323 |  | 50.1755 | -144.5534

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GP05MOAS-GL537-01-FLORDM000 | A01432 | 537 | 1 | N00649 | FLBBSLC-3582 | CC_scattering_angle | 140 | Constant.
GP05MOAS-GL537-01-FLORDM000 | A01432 | 537 | 1 | N00649 | FLBBSLC-3582 | CC_measurement_wavelength | 700 | Constant.
GP05MOAS-GL537-01-FLORDM000 | A01432 | 537 | 1 | N00649 | FLBBSLC-3582 | CC_angular_resolution | 1.096 | Constant.
GP05MOAS-GL537-01-FLORDM000 | A01432 | 537 | 1 | N00649 | FLBBSLC-3582 | CC_depolarization_ratio | 0.039 | Constant.
GP05MOAS-GL537-02-DOSTAM000 | A01432 | 537 | 1 | N00648 | 400 |  |  | No calibration coefficient
GP05MOAS-GL537-04-CTDGVM000 | A01432 | 537 | 1 | N00647 | 9237 |  |  | No calibration coefficient
GP05MOAS-GL537-00-ENG000000 | A01432 | 537 | 1 | OL000132 | 537 |  |  | No calibration coefficient