## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
N00281 | CE04OSBP-LJ01C | SN0008 | 2 | 2015-08-03 | 00:00Z | N/A | 44.3696 | -124.9537 | 579 m | TN326
N00282 | CE04OSBP-LV01C | SN0045 | 2 | 2015-08-03 | 00:00Z | N/A | 44.3696 | -124.9537 | 579 m | TN313 |  | This Node Did not Change

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
CE04OSBP-LV01C-06-CAMDSB106 | N00282 | SN0045 | 2 | N00688 | 0484-60002-105 |  |  | Did Not Change
CE04OSBP-LJ01C-11-HYDBBA105 | N00281 | SN0008 | 2 | N00689 | 1250 | CC_gain | 6 | Where from and how used?
Format of SN?
CE04OSBP-LJ01C-05-ADCPSI103 | N00281 | SN0008 | 2 | A01063 | 21498 | CC_lat | 44.3696
CE04OSBP-LJ01C-05-ADCPSI103 | N00281 | SN0008 | 2 | A01063 | 21498 | CC_lon | 124.9537
CE04OSBP-LJ01C-05-ADCPSI103 | N00281 | SN0008 | 2 | A01063 | 21498 | CC_scale_factor1 | 0.45 | Where from and how used?
CE04OSBP-LJ01C-05-ADCPSI103 | N00281 | SN0008 | 2 | A01063 | 21498 | CC_scale_factor2 | 0.45
CE04OSBP-LJ01C-05-ADCPSI103 | N00281 | SN0008 | 2 | A01063 | 21498 | CC_scale_factor3 | 0.45
CE04OSBP-LJ01C-05-ADCPSI103 | N00281 | SN0008 | 2 | A01063 | 21498 | CC_scale_factor4 | 0.45
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_lat | 44.3696
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_lon | -124.9537
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_a0 | 0.0012505
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_a1 | 0.00027285
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_a2 | -7.8439e-07
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_a3 | 1.6542e-07
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_C1 | -4643.78
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_C2 | -0.075401
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_C3 | 0.00088527
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_cpcor | -9.57e-08
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_ctcor | 3.25e-06
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_D1 | 0.067812
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_D2 | 0
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_g | -0.98094
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_h | 0.15255
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_i | -0.00036935
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_j | 5.0508e-05
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_T1 | 30.0544
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_T2 | -0.00038921
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_T3 | 2.6702e-06
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_T4 | 1.7188e-09
CE04OSBP-LJ01C-06-CTDBPO108 | N00281 | SN0008 | 2 | A00163 | 16P71879-7249 | CC_T5 | 0
CE04OSBP-LJ01C-06-DOSTAD108 | N00281 | SN0008 | 2 | A00903 | 381 | CC_lat | 44.3696
CE04OSBP-LJ01C-06-DOSTAD108 | N00281 | SN0008 | 2 | A00903 | 381 | CC_lon | -124.9537
CE04OSBP-LJ01C-06-DOSTAD108 | N00281 | SN0008 | 2 | A00903 | 381 | CC_csv | [2.84897E-03, 1.21289E-04, 2.40379E-06, 2.29702E02, -3.50439E-01, -5.91981E01, 4.54209] | SUVFoilCoef?
CE04OSBP-LJ01C-07-VEL3DC107 | N00281 | SN0008 | 2 | N00690 | 5156 | CC_lat | 44.3696
CE04OSBP-LJ01C-07-VEL3DC107 | N00281 | SN0008 | 2 | N00690 | 5156 | CC_lon | -124.9537
CE04OSBP-LJ01C-09-PCO2WB104 | N00281 | SN0008 | 2 | A01045 | C0090 | CC_ea434 | 3073 | Where do these come from?
CE04OSBP-LJ01C-09-PCO2WB104 | N00281 | SN0008 | 2 | A01045 | C0090 | CC_ea620 | 44327 | Where do these come from?
CE04OSBP-LJ01C-09-PCO2WB104 | N00281 | SN0008 | 2 | A01045 | C0090 | CC_eb434 | 19706 | Where do these come from?
CE04OSBP-LJ01C-09-PCO2WB104 | N00281 | SN0008 | 2 | A01045 | C0090 | CC_eb620 | 34 | Where do these come from?
CE04OSBP-LJ01C-09-PCO2WB104 | N00281 | SN0008 | 2 | A01045 | C0090 | CC_calt | 14.9 | CO2 Cal Temp
CE04OSBP-LJ01C-09-PCO2WB104 | N00281 | SN0008 | 2 | A01045 | C0090 | CC_cala | -0.0167 | C02Cal CoefA
CE04OSBP-LJ01C-09-PCO2WB104 | N00281 | SN0008 | 2 | A01045 | C0090 | CC_calb | 0.9127 | C02Cal CoefB
CE04OSBP-LJ01C-09-PCO2WB104 | N00281 | SN0008 | 2 | A01045 | C0090 | CC_calc | -1.8897 | C02Cal CoefC
CE04OSBP-LJ01C-10-PHSEND107 | N00281 | SN0008 | 2 | A01046 | P0132 | CC_ea434 | 17533 | pH Evalues: | Same Exact Values as last year?
CE04OSBP-LJ01C-10-PHSEND107 | N00281 | SN0008 | 2 | A01046 | P0132 | CC_eb434 | 2229 | pH Evalues: | Same Exact Values as last year?
CE04OSBP-LJ01C-10-PHSEND107 | N00281 | SN0008 | 2 | A01046 | P0132 | CC_ea578 | 101 | pH Evalues: | Same Exact Values as last year?
CE04OSBP-LJ01C-10-PHSEND107 | N00281 | SN0008 | 2 | A01046 | P0132 | CC_eb578 | 38502 | pH Evalues: | Same Exact Values as last year?
CE04OSBP-LJ01C-10-PHSEND107 | N00281 | SN0008 | 2 | A01046 | P0132 | CC_ind_slp | 1 | Where do these come from?
CE04OSBP-LJ01C-10-PHSEND107 | N00281 | SN0008 | 2 | A01046 | P0132 | CC_ind_off | 0 | Where do these come from?
CE04OSBP-LJ01C-10-PHSEND107 | N00281 | SN0008 | 2 | A01046 | P0132 | CC_psal | 35 | Where do these come from?
CE04OSBP-LJ01C-08-OPTAAC104 | N00281 | SN0008 | 2 | A01190 | 191 | CC_cwlngth | [401.80000000, 405.00000000, 408.40000000, 411.70000000, 414.90000000, 418.90000000, 423.10000000, 427.40000000, 431.50000000, 435.20000000, 439.10000000, 443.50000000, 447.90000000, 452.70000000, 457.10000000, 461.10000000, 465.70000000, 470.30000000, 475.20000000, 480.10000000, 485.00000000, 489.40000000, 493.70000000, 498.20000000, 502.80000000, 507.60000000, 512.50000000, 517.70000000, 522.50000000, 527.20000000, 531.30000000, 535.80000000, 540.30000000, 544.90000000, 549.50000000, 554.10000000, 558.90000000, 563.50000000, 567.90000000, 572.20000000, 576.60000000, 580.30000000, 584.40000000, 588.50000000, 593.00000000, 597.60000000, 602.10000000, 606.60000000, 611.70000000, 616.20000000, 620.90000000, 625.20000000, 629.70000000, 634.00000000, 638.50000000, 643.10000000, 647.30000000, 652.20000000, 656.80000000, 661.40000000, 665.90000000, 670.80000000, 675.20000000, 679.40000000, 683.80000000, 688.10000000, 692.10000000, 696.30000000, 700.50000000, 704.60000000, 708.70000000, 712.80000000, 717.10000000, 721.40000000, 725.40000000, 729.20000000, 733.40000000]
CE04OSBP-LJ01C-08-OPTAAC104 | N00281 | SN0008 | 2 | A01190 | 191 | CC_ccwo | [ 0.00805400, 0.11053200, 0.18747600, 0.26675900, 0.34176700, 0.40493600, 0.46407400, 0.52313900, 0.57768000, 0.63472600, 0.68606600, 0.74101500, 0.79208800, 0.83868400, 0.88290600, 0.92286900, 0.96376000, 1.00538400, 1.04298500, 1.07983800, 1.11417800, 1.14788100, 1.17874600, 1.20861200, 1.23624000, 1.26473100, 1.28682600, 1.30863900, 1.32975600, 1.34890800, 1.36801600, 1.38512600, 1.40166100, 1.41836200, 1.43544300, 1.45057100, 1.46637000, 1.48015900, 1.49152000, 1.50139600, 1.50596200, 1.50696500, 1.50263700, 1.48969300, 1.47671300, 1.45694200, 1.44026700, 1.43258800, 1.43438600, 1.43950500, 1.44548700, 1.44894000, 1.45430400, 1.45743400, 1.45919500, 1.45932900, 1.45645300, 1.44709600, 1.43686300, 1.42649000, 1.41993700, 1.41626500, 1.41019900, 1.39998300, 1.38224400, 1.35336200, 1.31300900, 1.26145500, 1.19766800, 1.11102600, 1.00643700, 0.87087100, 0.69756600, 0.48781300, 0.25281600, -0.01334300, -0.23654500]
CE04OSBP-LJ01C-08-OPTAAC104 | N00281 | SN0008 | 2 | A01190 | 191 | CC_tcal | 19.4
CE04OSBP-LJ01C-08-OPTAAC104 | N00281 | SN0008 | 2 | A01190 | 191 | CC_tbins | [ 1.53179500, 2.47766000, 3.44492100, 4.46025600, 5.49377400, 6.50133300, 7.49463400, 8.49526300, 9.49257100, 10.50684200, 11.50571400, 12.50031300, 13.50689700, 14.48346200, 15.49444400, 16.51320000, 17.51083300, 18.49818200, 19.50250000, 20.48703700, 21.49518500, 22.50192300, 23.50740700, 24.50714300, 25.49963000, 26.49931000, 27.50566700, 28.46933300, 29.48800000, 30.51620700, 31.50000000, 32.48758600, 33.48777800, 34.50714300, 35.50448300, 36.51787900, 37.57543500, 38.04116300]
CE04OSBP-LJ01C-08-OPTAAC104 | N00281 | SN0008 | 2 | A01190 | 191 | CC_awlngth | [398.40000000, 401.20000000, 405.00000000, 408.50000000, 411.70000000, 415.10000000, 418.90000000, 423.00000000, 427.00000000, 431.10000000, 435.00000000, 438.90000000, 443.00000000, 447.60000000, 452.20000000, 456.60000000, 460.80000000, 465.20000000, 469.60000000, 474.50000000, 479.40000000, 484.10000000, 488.60000000, 493.00000000, 497.40000000, 501.70000000, 506.40000000, 511.80000000, 516.50000000, 521.10000000, 526.10000000, 530.30000000, 534.80000000, 539.20000000, 543.70000000, 548.50000000, 552.90000000, 557.90000000, 562.50000000, 566.90000000, 571.30000000, 575.40000000, 579.50000000, 583.20000000, 587.40000000, 592.20000000, 596.70000000, 601.40000000, 606.30000000, 611.20000000, 615.90000000, 620.40000000, 625.00000000, 629.50000000, 633.90000000, 638.50000000, 643.10000000, 647.80000000, 652.40000000, 657.20000000, 661.90000000, 666.70000000, 671.10000000, 675.70000000, 680.10000000, 684.50000000, 688.90000000, 693.10000000, 697.30000000, 701.50000000, 705.50000000, 709.70000000, 713.70000000, 717.90000000, 722.40000000, 726.50000000, 730.80000000]
CE04OSBP-LJ01C-08-OPTAAC104 | N00281 | SN0008 | 2 | A01190 | 191 | CC_acwo | [ -1.36959900, -0.76649600, -0.29368400, -0.01512300, 0.14403800, 0.24520100, 0.30956600, 0.34917400, 0.37641400, 0.39832600, 0.42589200, 0.45743600, 0.49371400, 0.53478500, 0.57551200, 0.61589200, 0.65210800, 0.68579200, 0.72242000, 0.76355600, 0.80538600, 0.84466500, 0.88508600, 0.92792500, 0.96945500, 1.01220700, 1.05555900, 1.09974000, 1.14108300, 1.17938700, 1.21214100, 1.24558500, 1.27672100, 1.30728900, 1.34006600, 1.37449300, 1.41173000, 1.44947600, 1.48534300, 1.52140600, 1.55354200, 1.58223500, 1.60673900, 1.61985400, 1.63487900, 1.64757700, 1.65550900, 1.66232600, 1.67443800, 1.69569600, 1.72367100, 1.75250700, 1.78074100, 1.80975100, 1.83891300, 1.86609400, 1.89112500, 1.91476600, 1.93204700, 1.94781900, 1.96357100, 1.98150900, 2.00142300, 2.02114900, 2.03919700, 2.05041400, 2.05185700, 2.03889400, 2.01205300, 1.97163800, 1.91011500, 1.82576300, 1.71743400, 1.57511900, 1.39033300, 1.17536100, 0.94093000]
CE04OSBP-LJ01C-08-OPTAAC104 | N00281 | SN0008 | 2 | A01190 | 191 | CC_tcarray | SheetRef:ACS191_CC_tcarray
CE04OSBP-LJ01C-08-OPTAAC104 | N00281 | SN0008 | 2 | A01190 | 191 | CC_taarray | SheetRef:ACS191_CC_taarray

## ACS191_CC_tcarray
0.007358 | 0.010304 | 0.01215 | 0.012924 | 0.013282 | 0.013562 | 0.013004 | 0.013312 | 0.013362 | 0.013005 | 0.011972 | 0.011592 | 0.009657 | 0.008225 | 0.007763 | 0.007381 | 0.006067 | 0.005932 | 0.006329 | 0.005224 | 0.003988 | 0.00296 | 0.001764 | 0.001213 | 0 | -0.001072 | -0.000981 | -0.001542 | -0.002563 | -0.002752 | -0.00294 | -0.003611 | -0.004417 | -0.004627 | -0.004406 | -0.005648 | -0.006438 | -0.007105
0.007404 | 0.009717 | 0.011429 | 0.012568 | 0.012933 | 0.013324 | 0.013497 | 0.01326 | 0.013069 | 0.012622 | 0.011713 | 0.010128 | 0.010018 | 0.009312 | 0.008431 | 0.007501 | 0.006935 | 0.007483 | 0.00657 | 0.005178 | 0.00442 | 0.00403 | 0.002827 | 0.00184 | 0 | 0.000651 | -0.000804 | -0.001383 | -0.002413 | -0.002336 | -0.002724 | -0.002795 | -0.003123 | -0.003813 | -0.004822 | -0.004341 | -0.006159 | -0.005649
0.005682 | 0.007779 | 0.009858 | 0.011129 | 0.012156 | 0.012077 | 0.01229 | 0.011581 | 0.011603 | 0.010604 | 0.010518 | 0.010614 | 0.010062 | 0.008455 | 0.007737 | 0.007578 | 0.006216 | 0.006044 | 0.006577 | 0.005639 | 0.004392 | 0.003695 | 0.002294 | 0.001353 | 0 | -0.000504 | -0.000804 | -0.001396 | -0.002103 | -0.00262 | -0.003672 | -0.003359 | -0.003911 | -0.00462 | -0.005503 | -0.005504 | -0.006574 | -0.006518
0.008078 | 0.009406 | 0.01033 | 0.011204 | 0.011549 | 0.011766 | 0.011668 | 0.011917 | 0.012025 | 0.011961 | 0.011287 | 0.009717 | 0.00901 | 0.008 | 0.007538 | 0.006965 | 0.00648 | 0.006377 | 0.005941 | 0.005169 | 0.004594 | 0.003457 | 0.002576 | 0.001173 | 0 | -0.00047 | -0.001089 | -0.001784 | -0.002634 | -0.003182 | -0.003586 | -0.004101 | -0.004858 | -0.005568 | -0.00538 | -0.006287 | -0.006803 | -0.007171
0.008968 | 0.010179 | 0.011391 | 0.012008 | 0.012405 | 0.012575 | 0.012667 | 0.012662 | 0.011904 | 0.011548 | 0.010879 | 0.010163 | 0.00973 | 0.008728 | 0.008016 | 0.00749 | 0.006571 | 0.006922 | 0.006478 | 0.005946 | 0.004574 | 0.003865 | 0.002295 | 0.001872 | 0 | -0.000235 | -0.001216 | -0.001451 | -0.002344 | -0.003147 | -0.003713 | -0.003939 | -0.00459 | -0.004863 | -0.005665 | -0.005573 | -0.006864 | -0.006183
0.009722 | 0.011149 | 0.012267 | 0.012939 | 0.012933 | 0.013147 | 0.013141 | 0.012722 | 0.012521 | 0.011976 | 0.011869 | 0.011052 | 0.010191 | 0.008751 | 0.007964 | 0.007542 | 0.006669 | 0.006873 | 0.006818 | 0.005919 | 0.004891 | 0.003562 | 0.002643 | 0.001294 | 0 | -0.000374 | -0.000868 | -0.001628 | -0.002474 | -0.002741 | -0.003895 | -0.004508 | -0.004924 | -0.005515 | -0.00575 | -0.00621 | -0.006618 | -0.006548
0.011767 | 0.012812 | 0.013574 | 0.013896 | 0.014105 | 0.013717 | 0.01368 | 0.013573 | 0.0131 | 0.012906 | 0.011653 | 0.010793 | 0.009767 | 0.008945 | 0.008216 | 0.00772 | 0.007251 | 0.006777 | 0.005981 | 0.005707 | 0.004856 | 0.00344 | 0.002385 | 0.001322 | 0 | -0.000748 | -0.001454 | -0.002162 | -0.002911 | -0.003536 | -0.003743 | -0.004148 | -0.004876 | -0.005557 | -0.005622 | -0.006007 | -0.00635 | -0.006396
0.012941 | 0.013902 | 0.014469 | 0.01502 | 0.014803 | 0.014779 | 0.014514 | 0.013854 | 0.013253 | 0.012125 | 0.011775 | 0.011204 | 0.010142 | 0.00914 | 0.008304 | 0.007519 | 0.00669 | 0.006633 | 0.006457 | 0.005529 | 0.004543 | 0.00367 | 0.001907 | 0.001072 | 0 | -0.000917 | -0.001558 | -0.002122 | -0.002563 | -0.003346 | -0.003904 | -0.004263 | -0.004531 | -0.004829 | -0.005242 | -0.005491 | -0.00597 | -0.005769
0.016166 | 0.017063 | 0.017236 | 0.016963 | 0.016529 | 0.015938 | 0.015452 | 0.01521 | 0.014713 | 0.014311 | 0.013377 | 0.01236 | 0.011014 | 0.009734 | 0.008954 | 0.008273 | 0.007185 | 0.007114 | 0.006911 | 0.006292 | 0.004771 | 0.003406 | 0.00253 | 0.00152 | 0 | -0.000636 | -0.001324 | -0.00195 | -0.00252 | -0.003307 | -0.003602 | -0.004206 | -0.004538 | -0.00498 | -0.004961 | -0.005029 | -0.005308 | -0.005333
0.018024 | 0.018119 | 0.018016 | 0.017574 | 0.01728 | 0.016933 | 0.016418 | 0.015754 | 0.01513 | 0.014332 | 0.012952 | 0.01185 | 0.010885 | 0.010194 | 0.009011 | 0.008355 | 0.007664 | 0.007237 | 0.006478 | 0.00582 | 0.005052 | 0.003824 | 0.002741 | 0.001415 | 0 | -0.000749 | -0.001388 | -0.001798 | -0.002492 | -0.002711 | -0.003164 | -0.003481 | -0.003632 | -0.003734 | -0.003925 | -0.004203 | -0.004662 | -0.004286
0.018479 | 0.018793 | 0.018865 | 0.018585 | 0.017948 | 0.017339 | 0.016844 | 0.015969 | 0.015242 | 0.014202 | 0.013684 | 0.012634 | 0.011613 | 0.010227 | 0.009219 | 0.008301 | 0.007416 | 0.007019 | 0.007143 | 0.006301 | 0.004761 | 0.003754 | 0.002349 | 0.00102 | 0 | -0.000676 | -0.001556 | -0.001951 | -0.002281 | -0.002679 | -0.003223 | -0.003063 | -0.003273 | -0.003716 | -0.003977 | -0.003884 | -0.004164 | -0.003761
0.02141 | 0.021218 | 0.020877 | 0.019911 | 0.019143 | 0.018234 | 0.017343 | 0.017133 | 0.01626 | 0.015651 | 0.014461 | 0.013108 | 0.011501 | 0.010352 | 0.009395 | 0.008935 | 0.008054 | 0.00734 | 0.006897 | 0.006142 | 0.00502 | 0.003542 | 0.002623 | 0.001322 | 0 | -0.000761 | -0.001261 | -0.001862 | -0.002289 | -0.002523 | -0.002878 | -0.00316 | -0.003198 | -0.003189 | -0.003316 | -0.003326 | -0.003467 | -0.003349
0.021825 | 0.021514 | 0.020856 | 0.020274 | 0.019461 | 0.018906 | 0.018223 | 0.017154 | 0.016117 | 0.015262 | 0.014026 | 0.012757 | 0.01187 | 0.010828 | 0.009661 | 0.008621 | 0.007863 | 0.007441 | 0.006821 | 0.006169 | 0.00506 | 0.003765 | 0.002328 | 0.001157 | 0 | -0.000865 | -0.001667 | -0.002071 | -0.002173 | -0.002233 | -0.002368 | -0.002439 | -0.002553 | -0.002711 | -0.002768 | -0.002921 | -0.003182 | -0.002809
0.022555 | 0.022473 | 0.02218 | 0.021533 | 0.020546 | 0.019609 | 0.018963 | 0.018014 | 0.017268 | 0.016155 | 0.015312 | 0.01409 | 0.012769 | 0.011105 | 0.010086 | 0.009111 | 0.008261 | 0.007584 | 0.007567 | 0.006721 | 0.00507 | 0.00387 | 0.00256 | 0.001289 | 0 | -0.000606 | -0.00121 | -0.001686 | -0.001873 | -0.002062 | -0.002239 | -0.00241 | -0.002453 | -0.002587 | -0.002583 | -0.002532 | -0.002742 | -0.002255
0.024722 | 0.024043 | 0.0233 | 0.022122 | 0.021189 | 0.020289 | 0.019226 | 0.018458 | 0.017606 | 0.016762 | 0.015268 | 0.013813 | 0.012189 | 0.011223 | 0.010059 | 0.009156 | 0.008268 | 0.007593 | 0.007078 | 0.006168 | 0.00505 | 0.003705 | 0.00247 | 0.001143 | 0 | -0.001047 | -0.001615 | -0.001964 | -0.002206 | -0.002269 | -0.002342 | -0.002481 | -0.002555 | -0.002669 | -0.002628 | -0.002819 | -0.002805 | -0.002547
0.024641 | 0.024136 | 0.023344 | 0.022619 | 0.021691 | 0.02086 | 0.020027 | 0.018892 | 0.01779 | 0.016698 | 0.015453 | 0.014128 | 0.013102 | 0.011758 | 0.010461 | 0.009245 | 0.008418 | 0.007926 | 0.007288 | 0.006687 | 0.005177 | 0.003974 | 0.002647 | 0.001166 | 0 | -0.000753 | -0.001658 | -0.001951 | -0.001907 | -0.001957 | -0.00212 | -0.002163 | -0.002372 | -0.002555 | -0.002776 | -0.002609 | -0.002853 | -0.002434
0.02562 | 0.025119 | 0.024336 | 0.023298 | 0.022112 | 0.020963 | 0.020053 | 0.01911 | 0.018409 | 0.017245 | 0.016266 | 0.014991 | 0.013385 | 0.011787 | 0.010488 | 0.009591 | 0.008746 | 0.007875 | 0.007701 | 0.006706 | 0.005332 | 0.003845 | 0.002535 | 0.00131 | 0 | -0.001031 | -0.001463 | -0.002043 | -0.002233 | -0.002364 | -0.002675 | -0.002887 | -0.002956 | -0.003152 | -0.003203 | -0.003131 | -0.003242 | -0.002833
0.026819 | 0.025837 | 0.02488 | 0.023588 | 0.022709 | 0.021841 | 0.020808 | 0.019909 | 0.018802 | 0.017924 | 0.016157 | 0.014708 | 0.013207 | 0.012167 | 0.010838 | 0.009852 | 0.008841 | 0.008268 | 0.0073 | 0.006567 | 0.005355 | 0.003928 | 0.002633 | 0.001317 | 0 | -0.000956 | -0.001917 | -0.002204 | -0.00225 | -0.00245 | -0.002653 | -0.002807 | -0.003011 | -0.003274 | -0.003269 | -0.003561 | -0.003479 | -0.003187
0.026023 | 0.025461 | 0.024661 | 0.023908 | 0.022738 | 0.021867 | 0.021062 | 0.019843 | 0.018856 | 0.017661 | 0.016641 | 0.015326 | 0.014032 | 0.012454 | 0.011219 | 0.00983 | 0.008996 | 0.008392 | 0.007929 | 0.007101 | 0.005506 | 0.004259 | 0.002866 | 0.001229 | 0 | -0.000884 | -0.001617 | -0.00201 | -0.002329 | -0.002489 | -0.002749 | -0.003011 | -0.003279 | -0.003564 | -0.003851 | -0.003886 | -0.003938 | -0.003429
0.027292 | 0.026528 | 0.025655 | 0.024333 | 0.023168 | 0.02198 | 0.021003 | 0.020209 | 0.019408 | 0.018411 | 0.017082 | 0.015572 | 0.013987 | 0.012449 | 0.011164 | 0.010222 | 0.009235 | 0.008308 | 0.00794 | 0.0068 | 0.005544 | 0.004065 | 0.002706 | 0.001359 | 0 | -0.00108 | -0.001761 | -0.002353 | -0.002673 | -0.002919 | -0.003404 | -0.003663 | -0.004019 | -0.004328 | -0.004464 | -0.004521 | -0.004521 | -0.004244
0.026422 | 0.02566 | 0.024865 | 0.023856 | 0.022905 | 0.022162 | 0.021112 | 0.020158 | 0.019103 | 0.018038 | 0.016616 | 0.015157 | 0.013833 | 0.012818 | 0.011367 | 0.010269 | 0.009247 | 0.008611 | 0.007635 | 0.006893 | 0.005573 | 0.004169 | 0.002811 | 0.001294 | 0 | -0.001085 | -0.00196 | -0.002389 | -0.002674 | -0.003056 | -0.003305 | -0.003848 | -0.004275 | -0.004729 | -0.004827 | -0.005034 | -0.005098 | -0.004616
0.02573 | 0.025517 | 0.02485 | 0.024049 | 0.022994 | 0.021932 | 0.021172 | 0.020077 | 0.019133 | 0.018127 | 0.017156 | 0.015799 | 0.014367 | 0.012854 | 0.011493 | 0.010117 | 0.009357 | 0.008606 | 0.008256 | 0.007229 | 0.005734 | 0.004377 | 0.002987 | 0.001416 | 0 | -0.000806 | -0.001762 | -0.002332 | -0.002785 | -0.003233 | -0.0039 | -0.004317 | -0.004816 | -0.005245 | -0.005586 | -0.00563 | -0.005695 | -0.005245
0.026251 | 0.025699 | 0.025064 | 0.023942 | 0.022859 | 0.021897 | 0.020989 | 0.02022 | 0.019468 | 0.01837 | 0.016913 | 0.015492 | 0.013981 | 0.012647 | 0.011424 | 0.010442 | 0.009386 | 0.008461 | 0.007872 | 0.006874 | 0.00557 | 0.004083 | 0.00274 | 0.001304 | 0 | -0.001247 | -0.002034 | -0.002672 | -0.003206 | -0.003691 | -0.004381 | -0.004906 | -0.005493 | -0.005904 | -0.006202 | -0.006432 | -0.006385 | -0.00608
0.025346 | 0.02501 | 0.024465 | 0.023648 | 0.022811 | 0.022004 | 0.021004 | 0.02001 | 0.01897 | 0.017999 | 0.016706 | 0.015429 | 0.014171 | 0.013017 | 0.011573 | 0.010335 | 0.009301 | 0.008728 | 0.007873 | 0.007144 | 0.005717 | 0.004393 | 0.002892 | 0.001368 | 0 | -0.00102 | -0.002022 | -0.002566 | -0.00306 | -0.003765 | -0.004312 | -0.00505 | -0.00572 | -0.006282 | -0.006587 | -0.006848 | -0.006843 | -0.006403
0.025639 | 0.025421 | 0.024852 | 0.02395 | 0.022759 | 0.021718 | 0.020967 | 0.020017 | 0.01914 | 0.018172 | 0.017169 | 0.01581 | 0.014392 | 0.01276 | 0.011617 | 0.010342 | 0.009466 | 0.008661 | 0.008365 | 0.007258 | 0.005759 | 0.004398 | 0.003035 | 0.001434 | 0 | -0.001009 | -0.001908 | -0.002619 | -0.003319 | -0.004062 | -0.004965 | -0.005598 | -0.006179 | -0.006771 | -0.007187 | -0.00727 | -0.007301 | -0.006871
0.025785 | 0.025219 | 0.024592 | 0.023462 | 0.022511 | 0.02159 | 0.020649 | 0.019806 | 0.019004 | 0.018073 | 0.016554 | 0.015264 | 0.013884 | 0.012676 | 0.011396 | 0.010415 | 0.009464 | 0.00862 | 0.007797 | 0.006924 | 0.005716 | 0.004232 | 0.002824 | 0.001399 | 0 | -0.001205 | -0.002156 | -0.002847 | -0.003487 | -0.004216 | -0.004973 | -0.005734 | -0.006579 | -0.007168 | -0.007462 | -0.007888 | -0.007792 | -0.007454
0.024926 | 0.024624 | 0.024021 | 0.023212 | 0.02222 | 0.021332 | 0.020411 | 0.019433 | 0.018407 | 0.017481 | 0.016413 | 0.015134 | 0.013902 | 0.012675 | 0.0114 | 0.010038 | 0.009127 | 0.008542 | 0.007918 | 0.007098 | 0.005739 | 0.004357 | 0.002959 | 0.001321 | 0 | -0.001036 | -0.002005 | -0.002733 | -0.003379 | -0.004256 | -0.005045 | -0.005944 | -0.006637 | -0.007367 | -0.007805 | -0.007974 | -0.008114 | -0.007621
0.025516 | 0.025031 | 0.024296 | 0.023254 | 0.022073 | 0.02099 | 0.020235 | 0.019391 | 0.018618 | 0.01766 | 0.01659 | 0.015221 | 0.013827 | 0.012354 | 0.011173 | 0.010142 | 0.009309 | 0.008389 | 0.007978 | 0.006925 | 0.005585 | 0.004233 | 0.002881 | 0.001471 | 0 | -0.001088 | -0.002002 | -0.002789 | -0.003556 | -0.004372 | -0.00542 | -0.006234 | -0.006941 | -0.007627 | -0.008152 | -0.008326 | -0.008367 | -0.008005
0.025902 | 0.025144 | 0.024396 | 0.023239 | 0.022244 | 0.021359 | 0.020357 | 0.019396 | 0.018527 | 0.017522 | 0.01613 | 0.014887 | 0.013563 | 0.012511 | 0.011182 | 0.010121 | 0.009073 | 0.00846 | 0.007589 | 0.006775 | 0.005544 | 0.004168 | 0.00275 | 0.001369 | 0 | -0.001194 | -0.002158 | -0.002878 | -0.003586 | -0.004454 | -0.005285 | -0.006225 | -0.007197 | -0.007834 | -0.008245 | -0.008692 | -0.008685 | -0.008295
0.025803 | 0.025314 | 0.024422 | 0.023405 | 0.022204 | 0.021186 | 0.020267 | 0.019261 | 0.018297 | 0.017355 | 0.016327 | 0.015029 | 0.013752 | 0.01243 | 0.011112 | 0.009894 | 0.009041 | 0.008327 | 0.007843 | 0.006965 | 0.005569 | 0.00427 | 0.002929 | 0.001369 | 0 | -0.000953 | -0.001947 | -0.002776 | -0.003509 | -0.004437 | -0.005437 | -0.006434 | -0.007254 | -0.008017 | -0.008562 | -0.008732 | -0.008862 | -0.008453
0.026799 | 0.025969 | 0.025057 | 0.023707 | 0.022484 | 0.021297 | 0.020429 | 0.019519 | 0.018746 | 0.017707 | 0.016388 | 0.015045 | 0.013605 | 0.012217 | 0.01105 | 0.010005 | 0.009134 | 0.008281 | 0.007725 | 0.006626 | 0.005421 | 0.004131 | 0.002739 | 0.001459 | 0 | -0.001152 | -0.00206 | -0.002842 | -0.00369 | -0.004521 | -0.005683 | -0.006548 | -0.00737 | -0.008135 | -0.008695 | -0.009043 | -0.009028 | -0.008698
0.02638 | 0.025544 | 0.02461 | 0.02344 | 0.022375 | 0.021443 | 0.0203 | 0.019311 | 0.018315 | 0.017284 | 0.015996 | 0.014746 | 0.013464 | 0.012399 | 0.011026 | 0.009854 | 0.008825 | 0.00825 | 0.007402 | 0.006659 | 0.005379 | 0.004085 | 0.002787 | 0.00131 | 0 | -0.00107 | -0.001981 | -0.002728 | -0.003396 | -0.00439 | -0.005212 | -0.006258 | -0.007291 | -0.008065 | -0.008531 | -0.009003 | -0.008979 | -0.008651
0.026606 | 0.025913 | 0.02487 | 0.023692 | 0.022381 | 0.021247 | 0.020286 | 0.019275 | 0.018293 | 0.017348 | 0.016276 | 0.01489 | 0.013549 | 0.012102 | 0.010886 | 0.009649 | 0.008776 | 0.008025 | 0.007559 | 0.006537 | 0.005244 | 0.004009 | 0.002772 | 0.001345 | 0 | -0.000911 | -0.001831 | -0.002607 | -0.003412 | -0.004374 | -0.005493 | -0.006399 | -0.007203 | -0.008004 | -0.008652 | -0.008849 | -0.009006 | -0.008539
0.027043 | 0.026072 | 0.025057 | 0.023616 | 0.022359 | 0.02124 | 0.020303 | 0.019291 | 0.018408 | 0.017299 | 0.015902 | 0.014569 | 0.013161 | 0.011869 | 0.010616 | 0.009597 | 0.008641 | 0.007802 | 0.007101 | 0.006182 | 0.004997 | 0.003814 | 0.002517 | 0.001329 | 0 | -0.0011 | -0.00197 | -0.002699 | -0.00351 | -0.004301 | -0.005264 | -0.006188 | -0.007083 | -0.007879 | -0.008429 | -0.008886 | -0.008853 | -0.008557
0.026569 | 0.025688 | 0.024632 | 0.023376 | 0.022163 | 0.021126 | 0.019952 | 0.018855 | 0.017829 | 0.016813 | 0.015566 | 0.014291 | 0.012973 | 0.01182 | 0.010439 | 0.00918 | 0.008187 | 0.007633 | 0.006879 | 0.006106 | 0.004923 | 0.00371 | 0.002515 | 0.001188 | 0 | -0.000953 | -0.001774 | -0.002427 | -0.003066 | -0.004005 | -0.004893 | -0.005879 | -0.006776 | -0.007542 | -0.00804 | -0.008442 | -0.008508 | -0.0081
0.027039 | 0.026132 | 0.024976 | 0.023606 | 0.022189 | 0.02094 | 0.019959 | 0.018959 | 0.017965 | 0.016944 | 0.015781 | 0.014344 | 0.012904 | 0.011492 | 0.01025 | 0.009076 | 0.008237 | 0.007352 | 0.006924 | 0.005894 | 0.004709 | 0.003594 | 0.002476 | 0.001179 | 0 | -0.000878 | -0.001736 | -0.002426 | -0.003159 | -0.003945 | -0.004956 | -0.005783 | -0.006574 | -0.007328 | -0.007951 | -0.008168 | -0.008287 | -0.007945
0.027381 | 0.026242 | 0.025122 | 0.023623 | 0.022313 | 0.02117 | 0.020065 | 0.018986 | 0.018014 | 0.016854 | 0.015455 | 0.014179 | 0.012764 | 0.011561 | 0.010189 | 0.009119 | 0.008098 | 0.00734 | 0.006539 | 0.005726 | 0.004604 | 0.003467 | 0.002324 | 0.00121 | 0 | -0.000952 | -0.001678 | -0.002327 | -0.002952 | -0.003681 | -0.004526 | -0.005333 | -0.006184 | -0.006962 | -0.007459 | -0.007906 | -0.007888 | -0.007561
0.027157 | 0.026246 | 0.025066 | 0.023735 | 0.022432 | 0.021251 | 0.020052 | 0.01894 | 0.017857 | 0.016801 | 0.015583 | 0.014196 | 0.012813 | 0.011526 | 0.010157 | 0.008815 | 0.007828 | 0.007203 | 0.006513 | 0.005714 | 0.004537 | 0.003442 | 0.00234 | 0.001058 | 0 | -0.000798 | -0.001537 | -0.002116 | -0.002711 | -0.003508 | -0.004254 | -0.005145 | -0.005934 | -0.006652 | -0.007189 | -0.007445 | -0.007545 | -0.007182
0.02771 | 0.026647 | 0.025392 | 0.023869 | 0.022405 | 0.021147 | 0.020129 | 0.019068 | 0.018066 | 0.016959 | 0.015665 | 0.014231 | 0.012788 | 0.011387 | 0.0101 | 0.00899 | 0.008054 | 0.007161 | 0.006552 | 0.005577 | 0.004467 | 0.003355 | 0.002288 | 0.001143 | 0 | -0.000797 | -0.001502 | -0.0021 | -0.002727 | -0.003386 | -0.004219 | -0.004901 | -0.005621 | -0.006344 | -0.006906 | -0.00718 | -0.00724 | -0.006893
0.027871 | 0.026696 | 0.025513 | 0.02403 | 0.022716 | 0.021543 | 0.020359 | 0.019187 | 0.018099 | 0.01694 | 0.015583 | 0.014246 | 0.012821 | 0.01154 | 0.010165 | 0.008946 | 0.007899 | 0.007157 | 0.00637 | 0.005574 | 0.004443 | 0.003347 | 0.002218 | 0.001068 | 0 | -0.000855 | -0.001523 | -0.002094 | -0.00267 | -0.003287 | -0.003964 | -0.0047 | -0.005506 | -0.006192 | -0.00665 | -0.007054 | -0.007012 | -0.006664
0.027992 | 0.026945 | 0.0257 | 0.024272 | 0.022901 | 0.021681 | 0.020533 | 0.019449 | 0.018328 | 0.017278 | 0.016009 | 0.014549 | 0.013097 | 0.011715 | 0.01032 | 0.009021 | 0.008023 | 0.007287 | 0.006641 | 0.005713 | 0.004571 | 0.003435 | 0.002316 | 0.001078 | 0 | -0.000783 | -0.001505 | -0.002064 | -0.002594 | -0.003271 | -0.003964 | -0.004703 | -0.005376 | -0.006016 | -0.006524 | -0.006716 | -0.006795 | -0.006411
0.028279 | 0.027133 | 0.025898 | 0.024391 | 0.022991 | 0.021781 | 0.020748 | 0.019638 | 0.018614 | 0.017464 | 0.016094 | 0.014638 | 0.013204 | 0.011841 | 0.010485 | 0.009326 | 0.008324 | 0.007411 | 0.006699 | 0.005769 | 0.004608 | 0.003491 | 0.002323 | 0.001181 | 0 | -0.000829 | -0.001563 | -0.002141 | -0.002723 | -0.003271 | -0.003933 | -0.004542 | -0.005195 | -0.005841 | -0.006301 | -0.006616 | -0.0066 | -0.006247
0.028188 | 0.027115 | 0.026001 | 0.024605 | 0.023334 | 0.022187 | 0.02103 | 0.019931 | 0.018833 | 0.017688 | 0.016356 | 0.014992 | 0.013504 | 0.012192 | 0.01077 | 0.009465 | 0.008388 | 0.007642 | 0.006873 | 0.006008 | 0.004792 | 0.003608 | 0.002414 | 0.00115 | 0 | -0.000883 | -0.001608 | -0.002227 | -0.002771 | -0.003324 | -0.003917 | -0.004598 | -0.005261 | -0.005844 | -0.006261 | -0.006579 | -0.006532 | -0.006138
0.02909 | 0.02796 | 0.026654 | 0.02508 | 0.023641 | 0.022349 | 0.021155 | 0.020008 | 0.018869 | 0.017802 | 0.016366 | 0.014861 | 0.013338 | 0.011926 | 0.010564 | 0.009294 | 0.008247 | 0.007438 | 0.00667 | 0.00572 | 0.004545 | 0.003348 | 0.002209 | 0.00104 | 0 | -0.000701 | -0.001219 | -0.001443 | -0.001583 | -0.00173 | -0.001948 | -0.002235 | -0.002536 | -0.002882 | -0.003188 | -0.003378 | -0.003301 | -0.002915
0.028881 | 0.027678 | 0.026374 | 0.024871 | 0.023444 | 0.02223 | 0.021089 | 0.019871 | 0.018739 | 0.017522 | 0.016128 | 0.014643 | 0.013233 | 0.011849 | 0.010442 | 0.009155 | 0.008091 | 0.007283 | 0.00653 | 0.005629 | 0.004426 | 0.003269 | 0.002166 | 0.001044 | 0 | -0.000695 | -0.001174 | -0.001395 | -0.001479 | -0.001609 | -0.001801 | -0.002095 | -0.002457 | -0.002867 | -0.003173 | -0.003402 | -0.003394 | -0.00292
0.028615 | 0.027451 | 0.026208 | 0.024687 | 0.023255 | 0.021952 | 0.02074 | 0.019597 | 0.018473 | 0.017312 | 0.015968 | 0.014542 | 0.012994 | 0.011602 | 0.010185 | 0.008907 | 0.007856 | 0.007064 | 0.006385 | 0.005499 | 0.004303 | 0.003211 | 0.002113 | 0.000979 | 0 | -0.000714 | -0.001147 | -0.00142 | -0.001582 | -0.001743 | -0.002045 | -0.002359 | -0.002741 | -0.003136 | -0.003485 | -0.003693 | -0.003634 | -0.003223
0.028702 | 0.027485 | 0.026144 | 0.02465 | 0.023261 | 0.022007 | 0.020807 | 0.019624 | 0.018503 | 0.017379 | 0.015975 | 0.014468 | 0.013003 | 0.011628 | 0.010206 | 0.00896 | 0.007892 | 0.007078 | 0.006352 | 0.005457 | 0.004284 | 0.003178 | 0.00209 | 0.000977 | 0 | -0.000699 | -0.001194 | -0.001453 | -0.00164 | -0.001852 | -0.002125 | -0.002472 | -0.002863 | -0.003274 | -0.003637 | -0.003875 | -0.003813 | -0.003426
0.028564 | 0.027409 | 0.026169 | 0.024602 | 0.023137 | 0.021838 | 0.020704 | 0.019486 | 0.018344 | 0.017145 | 0.015823 | 0.014411 | 0.012991 | 0.011648 | 0.010238 | 0.008924 | 0.007844 | 0.00705 | 0.006367 | 0.005459 | 0.004272 | 0.003191 | 0.002113 | 0.000984 | 0 | -0.000694 | -0.001182 | -0.00146 | -0.00167 | -0.001923 | -0.002239 | -0.002595 | -0.003003 | -0.003466 | -0.003815 | -0.004067 | -0.004068 | -0.003636
0.028788 | 0.027589 | 0.026274 | 0.024725 | 0.0233 | 0.022072 | 0.020876 | 0.019731 | 0.01864 | 0.017516 | 0.016117 | 0.014638 | 0.01308 | 0.011651 | 0.010237 | 0.008896 | 0.00785 | 0.006992 | 0.006283 | 0.005384 | 0.004223 | 0.003139 | 0.002068 | 0.000959 | 0 | -0.00071 | -0.001177 | -0.001513 | -0.00177 | -0.002043 | -0.002429 | -0.002796 | -0.003231 | -0.003674 | -0.004065 | -0.004302 | -0.004273 | -0.003888
0.028828 | 0.027719 | 0.026422 | 0.024933 | 0.023501 | 0.022198 | 0.021011 | 0.019805 | 0.018715 | 0.017634 | 0.016275 | 0.014783 | 0.013311 | 0.011929 | 0.01049 | 0.009176 | 0.008135 | 0.007286 | 0.006573 | 0.005623 | 0.004391 | 0.00328 | 0.002144 | 0.001014 | 0 | -0.000736 | -0.001298 | -0.001634 | -0.001929 | -0.002205 | -0.002519 | -0.002906 | -0.00334 | -0.003792 | -0.004158 | -0.004425 | -0.004396 | -0.004001
0.028898 | 0.027701 | 0.026457 | 0.024914 | 0.023516 | 0.022262 | 0.021081 | 0.019933 | 0.018778 | 0.017545 | 0.016204 | 0.014824 | 0.013314 | 0.011893 | 0.010468 | 0.009165 | 0.008066 | 0.007185 | 0.00646 | 0.005521 | 0.004352 | 0.003255 | 0.002141 | 0.001006 | 0 | -0.000725 | -0.001263 | -0.001678 | -0.002052 | -0.002422 | -0.00282 | -0.003259 | -0.003697 | -0.004157 | -0.00455 | -0.004782 | -0.004766 | -0.004377
0.028958 | 0.02775 | 0.026471 | 0.024985 | 0.023542 | 0.022312 | 0.021163 | 0.019958 | 0.018873 | 0.017754 | 0.016309 | 0.014856 | 0.013356 | 0.011983 | 0.010519 | 0.009206 | 0.008139 | 0.007254 | 0.00653 | 0.005563 | 0.004322 | 0.003239 | 0.00213 | 0.000994 | 0 | -0.000755 | -0.001339 | -0.001722 | -0.002094 | -0.002449 | -0.002799 | -0.003225 | -0.003716 | -0.004204 | -0.00463 | -0.004912 | -0.004905 | -0.004506
0.029177 | 0.027977 | 0.026645 | 0.025152 | 0.023718 | 0.022433 | 0.021273 | 0.020086 | 0.019015 | 0.017937 | 0.016567 | 0.01498 | 0.01349 | 0.01209 | 0.010661 | 0.009282 | 0.00819 | 0.007336 | 0.006599 | 0.005652 | 0.004432 | 0.003264 | 0.00214 | 0.001017 | 0 | -0.000739 | -0.001333 | -0.001798 | -0.00217 | -0.002521 | -0.002922 | -0.003333 | -0.003811 | -0.004303 | -0.004716 | -0.005012 | -0.005009 | -0.004603
0.029279 | 0.027967 | 0.026689 | 0.025133 | 0.023723 | 0.022528 | 0.021344 | 0.02017 | 0.019032 | 0.01784 | 0.016433 | 0.014979 | 0.013508 | 0.012108 | 0.01066 | 0.009331 | 0.008228 | 0.007318 | 0.00654 | 0.005576 | 0.004381 | 0.003241 | 0.002156 | 0.001025 | 0 | -0.000797 | -0.001421 | -0.00191 | -0.002366 | -0.00281 | -0.003244 | -0.003697 | -0.004173 | -0.004649 | -0.005061 | -0.005336 | -0.005308 | -0.004937
0.02944 | 0.028248 | 0.026973 | 0.025465 | 0.024016 | 0.022702 | 0.02153 | 0.020327 | 0.019236 | 0.01806 | 0.016738 | 0.015271 | 0.01382 | 0.012446 | 0.011011 | 0.009669 | 0.008549 | 0.007641 | 0.006868 | 0.005881 | 0.004633 | 0.003448 | 0.00228 | 0.001087 | 0 | -0.000782 | -0.001384 | -0.001861 | -0.002272 | -0.00272 | -0.003146 | -0.003599 | -0.0041 | -0.004594 | -0.005 | -0.005259 | -0.005272 | -0.00488
0.029582 | 0.028331 | 0.026983 | 0.025397 | 0.023993 | 0.022735 | 0.021584 | 0.020429 | 0.019347 | 0.018218 | 0.016841 | 0.015378 | 0.013795 | 0.012373 | 0.010871 | 0.009499 | 0.008387 | 0.007474 | 0.006687 | 0.005713 | 0.004487 | 0.003342 | 0.002196 | 0.001024 | 0 | -0.000789 | -0.001403 | -0.001896 | -0.002366 | -0.002806 | -0.003314 | -0.003781 | -0.00426 | -0.004757 | -0.005181 | -0.005414 | -0.005405 | -0.005059
0.029672 | 0.028483 | 0.0271 | 0.02553 | 0.024075 | 0.022808 | 0.02157 | 0.020331 | 0.019212 | 0.018085 | 0.016716 | 0.015257 | 0.013805 | 0.012413 | 0.010979 | 0.009617 | 0.008466 | 0.007582 | 0.006719 | 0.005761 | 0.004535 | 0.003346 | 0.002255 | 0.001052 | 0 | -0.000793 | -0.001472 | -0.001953 | -0.002425 | -0.002894 | -0.003331 | -0.003808 | -0.004324 | -0.004814 | -0.00523 | -0.00553 | -0.005497 | -0.005133
0.029555 | 0.02824 | 0.026933 | 0.025411 | 0.023931 | 0.022655 | 0.021519 | 0.020322 | 0.0192 | 0.018057 | 0.016751 | 0.015324 | 0.013847 | 0.012459 | 0.010997 | 0.009601 | 0.008488 | 0.007587 | 0.006842 | 0.005835 | 0.004554 | 0.003423 | 0.002262 | 0.00105 | 0 | -0.000766 | -0.001369 | -0.001886 | -0.002368 | -0.002855 | -0.003362 | -0.003836 | -0.00435 | -0.004883 | -0.00529 | -0.005536 | -0.005551 | -0.005162
0.029676 | 0.028375 | 0.027033 | 0.025419 | 0.023957 | 0.022667 | 0.021459 | 0.020347 | 0.01927 | 0.018193 | 0.016799 | 0.015344 | 0.013796 | 0.012428 | 0.010976 | 0.00964 | 0.008528 | 0.007564 | 0.006759 | 0.005772 | 0.004539 | 0.003371 | 0.002208 | 0.001036 | 0 | -0.000802 | -0.001489 | -0.001993 | -0.002544 | -0.003024 | -0.003546 | -0.004016 | -0.004536 | -0.005027 | -0.005445 | -0.00573 | -0.005682 | -0.005379
0.029596 | 0.028334 | 0.026941 | 0.025409 | 0.024021 | 0.02281 | 0.021631 | 0.020403 | 0.019284 | 0.018113 | 0.016789 | 0.015338 | 0.013978 | 0.012568 | 0.011135 | 0.009731 | 0.008559 | 0.007675 | 0.006831 | 0.005819 | 0.004578 | 0.003436 | 0.002327 | 0.001065 | 0 | -0.000729 | -0.001372 | -0.001891 | -0.002395 | -0.002892 | -0.003371 | -0.003871 | -0.004421 | -0.004907 | -0.005323 | -0.005658 | -0.005634 | -0.005257
0.029685 | 0.02844 | 0.027068 | 0.025485 | 0.023966 | 0.022653 | 0.021483 | 0.020352 | 0.019277 | 0.018141 | 0.016831 | 0.015441 | 0.013927 | 0.01249 | 0.011014 | 0.009598 | 0.008504 | 0.007582 | 0.00684 | 0.005781 | 0.004521 | 0.003417 | 0.002239 | 0.00101 | 0 | -0.00076 | -0.001363 | -0.001886 | -0.002391 | -0.002953 | -0.003497 | -0.003996 | -0.004515 | -0.005042 | -0.005492 | -0.005683 | -0.005749 | -0.005364
0.029866 | 0.02844 | 0.027042 | 0.025392 | 0.023951 | 0.022659 | 0.021441 | 0.02031 | 0.019216 | 0.01817 | 0.016752 | 0.015245 | 0.013742 | 0.012402 | 0.01094 | 0.00964 | 0.008487 | 0.007501 | 0.006618 | 0.005653 | 0.004476 | 0.003314 | 0.002201 | 0.001011 | 0 | -0.00076 | -0.001459 | -0.001968 | -0.002523 | -0.003012 | -0.003544 | -0.004046 | -0.004579 | -0.005083 | -0.005507 | -0.00583 | -0.005784 | -0.005502
0.029398 | 0.028139 | 0.026735 | 0.025218 | 0.023817 | 0.022587 | 0.021429 | 0.020137 | 0.019021 | 0.017838 | 0.01659 | 0.01521 | 0.013893 | 0.012478 | 0.010991 | 0.009557 | 0.008399 | 0.007526 | 0.00671 | 0.005733 | 0.004486 | 0.003363 | 0.002257 | 0.00103 | 0 | -0.000688 | -0.001298 | -0.001791 | -0.00228 | -0.002826 | -0.003326 | -0.003863 | -0.004446 | -0.004987 | -0.005382 | -0.005716 | -0.005754 | -0.005333
0.029915 | 0.028537 | 0.027124 | 0.025444 | 0.02384 | 0.022452 | 0.021288 | 0.020211 | 0.01919 | 0.018101 | 0.016798 | 0.015375 | 0.013779 | 0.012361 | 0.010925 | 0.009546 | 0.008448 | 0.00745 | 0.006726 | 0.005643 | 0.00446 | 0.003347 | 0.002147 | 0.000993 | 0 | -0.000733 | -0.001307 | -0.00185 | -0.002364 | -0.002906 | -0.003529 | -0.004025 | -0.00452 | -0.005088 | -0.005537 | -0.005746 | -0.005797 | -0.005446
0.029817 | 0.028408 | 0.026944 | 0.025254 | 0.023884 | 0.022643 | 0.021393 | 0.020178 | 0.019021 | 0.017957 | 0.016546 | 0.01504 | 0.013653 | 0.012345 | 0.010907 | 0.009594 | 0.008392 | 0.007408 | 0.006464 | 0.005525 | 0.004364 | 0.00322 | 0.002156 | 0.00099 | 0 | -0.000726 | -0.001374 | -0.001845 | -0.002392 | -0.002896 | -0.003414 | -0.003952 | -0.004531 | -0.005049 | -0.005464 | -0.005903 | -0.005836 | -0.00554
0.029586 | 0.028335 | 0.026922 | 0.025382 | 0.023902 | 0.022613 | 0.021452 | 0.020185 | 0.019085 | 0.017915 | 0.016739 | 0.015375 | 0.013997 | 0.012539 | 0.011025 | 0.009514 | 0.008334 | 0.00751 | 0.006761 | 0.005716 | 0.004431 | 0.003355 | 0.002203 | 0.001009 | 0 | -0.000652 | -0.001211 | -0.001661 | -0.00213 | -0.002716 | -0.003252 | -0.003848 | -0.004463 | -0.005043 | -0.005452 | -0.005705 | -0.005827 | -0.005369
0.030622 | 0.029064 | 0.027586 | 0.025803 | 0.024152 | 0.022747 | 0.021532 | 0.020478 | 0.019475 | 0.018365 | 0.016971 | 0.015526 | 0.013885 | 0.012521 | 0.011083 | 0.009755 | 0.008605 | 0.007472 | 0.006714 | 0.005613 | 0.004461 | 0.003329 | 0.002119 | 0.001018 | 0 | -0.000753 | -0.001337 | -0.001871 | -0.002431 | -0.002943 | -0.003647 | -0.004163 | -0.00471 | -0.005318 | -0.005828 | -0.006043 | -0.006067 | -0.005791
0.029946 | 0.028607 | 0.02721 | 0.025578 | 0.024241 | 0.023047 | 0.021797 | 0.020526 | 0.019334 | 0.018212 | 0.016828 | 0.015397 | 0.01408 | 0.012728 | 0.01124 | 0.00981 | 0.00853 | 0.007625 | 0.006651 | 0.005699 | 0.004501 | 0.003314 | 0.002221 | 0.000998 | 0 | -0.000735 | -0.001351 | -0.00182 | -0.002306 | -0.002839 | -0.003313 | -0.003953 | -0.004567 | -0.005108 | -0.005533 | -0.006055 | -0.005986 | -0.005646
0.030578 | 0.029263 | 0.02773 | 0.026178 | 0.024566 | 0.023195 | 0.022039 | 0.0208 | 0.019699 | 0.018526 | 0.017355 | 0.015927 | 0.014459 | 0.012947 | 0.011435 | 0.009886 | 0.008765 | 0.007831 | 0.007141 | 0.006002 | 0.004666 | 0.003569 | 0.002338 | 0.001125 | 0 | -0.000647 | -0.001179 | -0.001701 | -0.002142 | -0.002777 | -0.003383 | -0.004018 | -0.004614 | -0.005201 | -0.005654 | -0.005844 | -0.00597 | -0.005504
0.030962 | 0.029453 | 0.028066 | 0.026276 | 0.024713 | 0.023346 | 0.022094 | 0.021065 | 0.019978 | 0.018929 | 0.017399 | 0.015908 | 0.014283 | 0.013005 | 0.011554 | 0.01026 | 0.008999 | 0.007808 | 0.006953 | 0.005864 | 0.004724 | 0.003444 | 0.00223 | 0.001055 | 0 | -0.000857 | -0.00154 | -0.002042 | -0.002611 | -0.003069 | -0.003807 | -0.004256 | -0.00488 | -0.005448 | -0.005949 | -0.006233 | -0.006225 | -0.005928
0.029881 | 0.028768 | 0.027452 | 0.026025 | 0.024783 | 0.023662 | 0.022423 | 0.021117 | 0.0199 | 0.018739 | 0.017458 | 0.016069 | 0.014721 | 0.013288 | 0.011787 | 0.01025 | 0.008953 | 0.008135 | 0.007189 | 0.006197 | 0.004869 | 0.003621 | 0.002497 | 0.001126 | 0 | -0.00073 | -0.001397 | -0.001835 | -0.002295 | -0.002864 | -0.003297 | -0.003938 | -0.00453 | -0.005069 | -0.005467 | -0.005932 | -0.005871 | -0.00546
0.030488 | 0.029344 | 0.028033 | 0.02653 | 0.024947 | 0.023568 | 0.022514 | 0.021411 | 0.020377 | 0.019279 | 0.018069 | 0.016549 | 0.014964 | 0.013446 | 0.011988 | 0.010474 | 0.009419 | 0.008333 | 0.007683 | 0.006486 | 0.005098 | 0.003893 | 0.002486 | 0.001238 | 0 | -0.000768 | -0.00138 | -0.001977 | -0.00245 | -0.002997 | -0.003672 | -0.004168 | -0.004711 | -0.005265 | -0.005743 | -0.005834 | -0.005951 | -0.005455
0.030174 | 0.028946 | 0.027896 | 0.026358 | 0.025033 | 0.023802 | 0.022608 | 0.021602 | 0.02045 | 0.019389 | 0.017799 | 0.016342 | 0.014752 | 0.013558 | 0.012082 | 0.010835 | 0.009468 | 0.008341 | 0.007368 | 0.006278 | 0.005099 | 0.0037 | 0.002497 | 0.001131 | 0 | -0.000903 | -0.00176 | -0.002288 | -0.002814 | -0.003262 | -0.003804 | -0.004361 | -0.004888 | -0.005385 | -0.00581 | -0.006223 | -0.006123 | -0.005828
0.028755 | 0.028073 | 0.027046 | 0.025928 | 0.024829 | 0.023774 | 0.022639 | 0.021399 | 0.020283 | 0.019126 | 0.01803 | 0.016638 | 0.01529 | 0.013803 | 0.01229 | 0.010708 | 0.009501 | 0.008749 | 0.007834 | 0.006804 | 0.005329 | 0.004032 | 0.00273 | 0.001294 | 0 | -0.000775 | -0.001477 | -0.002 | -0.002477 | -0.003078 | -0.003509 | -0.004143 | -0.004753 | -0.00524 | -0.005604 | -0.005959 | -0.005918 | -0.005447
0.029917 | 0.029004 | 0.027974 | 0.026635 | 0.025154 | 0.023821 | 0.022867 | 0.021949 | 0.020987 | 0.019896 | 0.018543 | 0.017021 | 0.015387 | 0.013903 | 0.012449 | 0.01104 | 0.009924 | 0.008742 | 0.00805 | 0.006769 | 0.005463 | 0.004066 | 0.002649 | 0.00133 | 0 | -0.000918 | -0.001725 | -0.002312 | -0.002864 | -0.003456 | -0.00422 | -0.00466 | -0.005191 | -0.0058 | -0.006297 | -0.006402 | -0.006509 | -0.006058
0.029771 | 0.02886 | 0.028045 | 0.026739 | 0.025654 | 0.024661 | 0.023454 | 0.022309 | 0.021131 | 0.019996 | 0.018469 | 0.01704 | 0.015512 | 0.014264 | 0.012719 | 0.011431 | 0.009954 | 0.008952 | 0.007832 | 0.006849 | 0.00555 | 0.003995 | 0.002705 | 0.001285 | 0 | -0.000998 | -0.001887 | -0.002537 | -0.003133 | -0.003717 | -0.004302 | -0.004961 | -0.005608 | -0.006176 | -0.006584 | -0.007159 | -0.006975 | -0.00663
0.025543 | 0.025669 | 0.025036 | 0.024484 | 0.023539 | 0.022584 | 0.021619 | 0.020548 | 0.019572 | 0.018581 | 0.017784 | 0.016562 | 0.015147 | 0.013565 | 0.012174 | 0.010596 | 0.009478 | 0.008791 | 0.008044 | 0.006946 | 0.00543 | 0.004164 | 0.002814 | 0.001271 | 0 | -0.000716 | -0.001442 | -0.00217 | -0.00272 | -0.003542 | -0.004159 | -0.005003 | -0.00575 | -0.006366 | -0.006874 | -0.007057 | -0.007259 | -0.00681

## ACS191_CC_taarray
-0.13457 | -0.12958 | -0.12408 | -0.11815 | -0.11228 | -0.10625 | -0.10089 | -0.095622 | -0.08987 | -0.084053 | -0.077784 | -0.073716 | -0.067724 | -0.063479 | -0.05675 | -0.05071 | -0.043566 | -0.039899 | -0.034159 | -0.030271 | -0.022629 | -0.016711 | -0.010929 | -0.004981 | 0 | 0.006993 | 0.012723 | 0.019372 | 0.025521 | 0.031188 | 0.037589 | 0.043919 | 0.049934 | 0.055386 | 0.061707 | 0.067281 | 0.071318 | 0.071953
-0.12787 | -0.12196 | -0.11617 | -0.10966 | -0.10462 | -0.098704 | -0.092979 | -0.088227 | -0.083134 | -0.078649 | -0.07229 | -0.06741 | -0.061901 | -0.0584 | -0.052253 | -0.047129 | -0.041192 | -0.036419 | -0.031783 | -0.027431 | -0.021507 | -0.015732 | -0.01082 | -0.005494 | 0 | 0.005679 | 0.011612 | 0.017511 | 0.023266 | 0.028136 | 0.033802 | 0.039688 | 0.044882 | 0.050564 | 0.05636 | 0.06095 | 0.064676 | 0.065319
-0.112 | -0.1074 | -0.10269 | -0.097296 | -0.092614 | -0.08812 | -0.083356 | -0.078527 | -0.074146 | -0.069538 | -0.064309 | -0.059916 | -0.055905 | -0.052005 | -0.046931 | -0.04179 | -0.036797 | -0.033298 | -0.029045 | -0.025079 | -0.019358 | -0.014423 | -0.009993 | -0.004817 | 0 | 0.004809 | 0.009786 | 0.014703 | 0.019315 | 0.02389 | 0.028936 | 0.033741 | 0.038607 | 0.043314 | 0.048023 | 0.052339 | 0.055758 | 0.055763
-0.096365 | -0.091657 | -0.087382 | -0.082778 | -0.078544 | -0.074385 | -0.070393 | -0.066595 | -0.062828 | -0.059385 | -0.054724 | -0.050803 | -0.046856 | -0.04324 | -0.039585 | -0.03502 | -0.03092 | -0.027689 | -0.024352 | -0.020826 | -0.016275 | -0.012181 | -0.007987 | -0.003956 | 0 | 0.004119 | 0.008218 | 0.012639 | 0.016824 | 0.020751 | 0.024926 | 0.029313 | 0.033309 | 0.03728 | 0.041143 | 0.044532 | 0.047349 | 0.047398
-0.083116 | -0.078422 | -0.074388 | -0.069852 | -0.065986 | -0.062514 | -0.058505 | -0.055212 | -0.051961 | -0.04891 | -0.045204 | -0.041594 | -0.038541 | -0.035878 | -0.032334 | -0.028918 | -0.02556 | -0.023166 | -0.020011 | -0.017203 | -0.013729 | -0.01012 | -0.006657 | -0.003246 | 0 | 0.00333 | 0.007048 | 0.010541 | 0.013897 | 0.017102 | 0.020862 | 0.024196 | 0.027585 | 0.031013 | 0.034274 | 0.036912 | 0.038762 | 0.0387
-0.068897 | -0.065332 | -0.06213 | -0.058426 | -0.054876 | -0.051924 | -0.048987 | -0.046051 | -0.043423 | -0.040686 | -0.037532 | -0.034667 | -0.032067 | -0.029506 | -0.026437 | -0.023776 | -0.021155 | -0.019063 | -0.016813 | -0.014504 | -0.01155 | -0.008556 | -0.005801 | -0.002835 | 0 | 0.0025 | 0.005484 | 0.008646 | 0.011442 | 0.014165 | 0.01706 | 0.019901 | 0.022837 | 0.025401 | 0.027831 | 0.030174 | 0.031476 | 0.031438
-0.058596 | -0.05528 | -0.052389 | -0.049145 | -0.046472 | -0.04387 | -0.04098 | -0.038541 | -0.036161 | -0.033931 | -0.031139 | -0.028809 | -0.026421 | -0.024474 | -0.021908 | -0.01961 | -0.017441 | -0.015737 | -0.013696 | -0.011644 | -0.009408 | -0.006898 | -0.004344 | -0.002219 | 0 | 0.002218 | 0.004507 | 0.007228 | 0.009481 | 0.01162 | 0.014108 | 0.0167 | 0.018746 | 0.021134 | 0.02322 | 0.024698 | 0.025921 | 0.025685
-0.048518 | -0.046132 | -0.043746 | -0.040843 | -0.038499 | -0.036413 | -0.034203 | -0.032258 | -0.030258 | -0.028395 | -0.025954 | -0.02379 | -0.021843 | -0.020305 | -0.018185 | -0.015984 | -0.014605 | -0.013076 | -0.011502 | -0.009701 | -0.007817 | -0.005606 | -0.003708 | -0.001947 | 0 | 0.001833 | 0.003926 | 0.006239 | 0.00801 | 0.010025 | 0.012194 | 0.014105 | 0.016169 | 0.018016 | 0.019613 | 0.020966 | 0.021882 | 0.021596
-0.043756 | -0.04117 | -0.038838 | -0.036317 | -0.034331 | -0.032216 | -0.030092 | -0.028329 | -0.026452 | -0.024717 | -0.022568 | -0.02071 | -0.019209 | -0.017751 | -0.015984 | -0.014146 | -0.012667 | -0.011522 | -0.010195 | -0.008486 | -0.006958 | -0.005131 | -0.003271 | -0.001975 | 0 | 0.001301 | 0.003136 | 0.005149 | 0.006559 | 0.00831 | 0.010162 | 0.012015 | 0.013698 | 0.015366 | 0.016799 | 0.017887 | 0.01862 | 0.018321
-0.035203 | -0.033486 | -0.031848 | -0.029762 | -0.028046 | -0.026407 | -0.024657 | -0.023276 | -0.021884 | -0.020432 | -0.018637 | -0.017065 | -0.015717 | -0.01452 | -0.013149 | -0.011693 | -0.010366 | -0.009587 | -0.008291 | -0.006961 | -0.005734 | -0.004114 | -0.00267 | -0.001699 | 0 | 0.001176 | 0.002622 | 0.004366 | 0.005748 | 0.007224 | 0.008862 | 0.010406 | 0.011969 | 0.013592 | 0.01473 | 0.015732 | 0.016441 | 0.016175
-0.029913 | -0.028338 | -0.026987 | -0.02539 | -0.024016 | -0.022654 | -0.021213 | -0.019927 | -0.01867 | -0.017329 | -0.015921 | -0.014525 | -0.013462 | -0.01242 | -0.011329 | -0.010074 | -0.008924 | -0.008279 | -0.007205 | -0.006152 | -0.005027 | -0.003636 | -0.002399 | -0.001445 | 0 | 0.000952 | 0.002155 | 0.003756 | 0.004991 | 0.006294 | 0.007684 | 0.0092 | 0.010676 | 0.011987 | 0.013092 | 0.014076 | 0.014685 | 0.014345
-0.026236 | -0.024896 | -0.023669 | -0.02214 | -0.020849 | -0.019518 | -0.018224 | -0.017143 | -0.016148 | -0.015095 | -0.013753 | -0.012766 | -0.011681 | -0.010941 | -0.009848 | -0.008837 | -0.007928 | -0.007323 | -0.006465 | -0.005488 | -0.00451 | -0.003245 | -0.002074 | -0.001075 | 0 | 0.00087 | 0.002028 | 0.003331 | 0.004416 | 0.005588 | 0.006996 | 0.008411 | 0.009751 | 0.011019 | 0.011932 | 0.012838 | 0.013531 | 0.013232
-0.02266 | -0.021484 | -0.020419 | -0.019093 | -0.017976 | -0.016877 | -0.015803 | -0.015014 | -0.013979 | -0.013091 | -0.011919 | -0.010989 | -0.010066 | -0.009466 | -0.008529 | -0.00769 | -0.00684 | -0.006255 | -0.005464 | -0.004673 | -0.003883 | -0.002799 | -0.00176 | -0.0009 | 0 | 0.000811 | 0.001879 | 0.003061 | 0.004145 | 0.005233 | 0.006525 | 0.007829 | 0.009078 | 0.010281 | 0.011138 | 0.012051 | 0.012749 | 0.012405
-0.019378 | -0.018352 | -0.017464 | -0.016451 | -0.015509 | -0.014668 | -0.01372 | -0.012957 | -0.012151 | -0.011381 | -0.010388 | -0.009577 | -0.008899 | -0.008396 | -0.007704 | -0.006835 | -0.00608 | -0.005622 | -0.005102 | -0.004279 | -0.003536 | -0.002576 | -0.001569 | -0.000921 | 0 | 0.000632 | 0.001538 | 0.00264 | 0.003563 | 0.004524 | 0.005775 | 0.006984 | 0.008234 | 0.009313 | 0.010202 | 0.011152 | 0.011725 | 0.011403
-0.017094 | -0.016272 | -0.015471 | -0.014496 | -0.013606 | -0.012857 | -0.012133 | -0.011525 | -0.010833 | -0.010164 | -0.00929 | -0.008606 | -0.007896 | -0.00754 | -0.006838 | -0.006223 | -0.005486 | -0.005142 | -0.004544 | -0.003758 | -0.003226 | -0.002365 | -0.001488 | -0.000767 | 0 | 0.000628 | 0.001494 | 0.002589 | 0.003374 | 0.004396 | 0.00558 | 0.006651 | 0.007914 | 0.009063 | 0.009807 | 0.010745 | 0.011251 | 0.010992
-0.01473 | -0.014026 | -0.013451 | -0.012605 | -0.011988 | -0.011393 | -0.010647 | -0.010142 | -0.009483 | -0.008979 | -0.008215 | -0.007658 | -0.007008 | -0.006831 | -0.006269 | -0.005601 | -0.005154 | -0.004752 | -0.004235 | -0.003505 | -0.002954 | -0.002238 | -0.001409 | -0.000843 | 0 | 0.000604 | 0.001352 | 0.002335 | 0.003064 | 0.003982 | 0.005101 | 0.006142 | 0.007277 | 0.00839 | 0.009127 | 0.009937 | 0.01064 | 0.010373
-0.013071 | -0.012513 | -0.012019 | -0.011431 | -0.010791 | -0.010217 | -0.009615 | -0.009187 | -0.008569 | -0.00808 | -0.007481 | -0.00695 | -0.006505 | -0.006122 | -0.00568 | -0.005125 | -0.004624 | -0.004408 | -0.003906 | -0.003291 | -0.002765 | -0.001983 | -0.00128 | -0.000766 | 0 | 0.000435 | 0.001192 | 0.002082 | 0.002818 | 0.003639 | 0.004733 | 0.005711 | 0.006866 | 0.007802 | 0.008644 | 0.009427 | 0.010046 | 0.009847
-0.010699 | -0.010256 | -0.009919 | -0.009442 | -0.008975 | -0.008521 | -0.008002 | -0.007707 | -0.007217 | -0.006807 | -0.006232 | -0.005854 | -0.005491 | -0.005244 | -0.004787 | -0.004458 | -0.004045 | -0.00382 | -0.003369 | -0.002914 | -0.002459 | -0.001792 | -0.001178 | -0.000694 | 0 | 0.000461 | 0.001101 | 0.001939 | 0.002574 | 0.003181 | 0.004307 | 0.005252 | 0.006257 | 0.007186 | 0.007928 | 0.008652 | 0.009311 | 0.009135
-0.008755 | -0.008496 | -0.008257 | -0.00791 | -0.007586 | -0.007262 | -0.006809 | -0.006499 | -0.006052 | -0.005741 | -0.005343 | -0.005003 | -0.004701 | -0.004567 | -0.004187 | -0.003818 | -0.003553 | -0.003416 | -0.003038 | -0.002541 | -0.002174 | -0.001574 | -0.000987 | -0.00063 | 0 | 0.000422 | 0.001062 | 0.001755 | 0.002319 | 0.002955 | 0.003973 | 0.004836 | 0.005892 | 0.006728 | 0.007376 | 0.008166 | 0.008814 | 0.008619
-0.007045 | -0.006923 | -0.006785 | -0.00655 | -0.006274 | -0.005956 | -0.005639 | -0.00542 | -0.005068 | -0.004851 | -0.004542 | -0.004248 | -0.003994 | -0.003785 | -0.003573 | -0.003274 | -0.003008 | -0.002935 | -0.002564 | -0.002259 | -0.001959 | -0.001385 | -0.000894 | -0.000573 | 0 | 0.00037 | 0.000909 | 0.001576 | 0.002114 | 0.002735 | 0.003589 | 0.004399 | 0.005344 | 0.006156 | 0.006827 | 0.00753 | 0.008176 | 0.007965
-0.005856 | -0.005785 | -0.005719 | -0.005524 | -0.005326 | -0.005071 | -0.004819 | -0.004584 | -0.004286 | -0.004081 | -0.003763 | -0.003567 | -0.003323 | -0.003268 | -0.003048 | -0.002863 | -0.002613 | -0.002529 | -0.002156 | -0.001929 | -0.001721 | -0.001151 | -0.00074 | -0.000531 | 0 | 0.000391 | 0.000857 | 0.001522 | 0.00199 | 0.002511 | 0.003333 | 0.004085 | 0.00498 | 0.005716 | 0.006337 | 0.007082 | 0.007682 | 0.007522
-0.004563 | -0.00466 | -0.004654 | -0.0046 | -0.004472 | -0.004331 | -0.004061 | -0.003905 | -0.003619 | -0.003468 | -0.003274 | -0.003076 | -0.002902 | -0.002846 | -0.002657 | -0.002459 | -0.00228 | -0.002277 | -0.001971 | -0.001752 | -0.001471 | -0.001025 | -0.00067 | -0.000432 | 0 | 0.000376 | 0.000783 | 0.001387 | 0.00177 | 0.002296 | 0.002975 | 0.003735 | 0.004586 | 0.005274 | 0.005829 | 0.006601 | 0.007164 | 0.007006
-0.004235 | -0.004348 | -0.004384 | -0.004309 | -0.004173 | -0.004011 | -0.003791 | -0.003724 | -0.003471 | -0.003378 | -0.003143 | -0.002941 | -0.002788 | -0.002714 | -0.002533 | -0.002363 | -0.0022 | -0.002145 | -0.001893 | -0.001598 | -0.001417 | -0.000969 | -0.000655 | -0.000434 | 0 | 0.00037 | 0.000743 | 0.001337 | 0.001669 | 0.002126 | 0.002859 | 0.003568 | 0.0043 | 0.004977 | 0.005513 | 0.006192 | 0.006773 | 0.00663
-0.003564 | -0.003711 | -0.003843 | -0.003844 | -0.003793 | -0.003659 | -0.003483 | -0.003385 | -0.00316 | -0.002957 | -0.002778 | -0.002552 | -0.002396 | -0.002426 | -0.002259 | -0.002149 | -0.001955 | -0.001904 | -0.001666 | -0.001418 | -0.001213 | -0.000849 | -0.000594 | -0.00038 | 0 | 0.000319 | 0.000688 | 0.001207 | 0.001545 | 0.001955 | 0.002621 | 0.003239 | 0.003917 | 0.004543 | 0.005045 | 0.005741 | 0.006318 | 0.006162
-0.003255 | -0.003524 | -0.003649 | -0.003694 | -0.003645 | -0.00352 | -0.003352 | -0.003277 | -0.003014 | -0.002919 | -0.002779 | -0.002629 | -0.002459 | -0.002386 | -0.002227 | -0.002045 | -0.001917 | -0.001862 | -0.001622 | -0.001426 | -0.001184 | -0.000848 | -0.000545 | -0.000324 | 0 | 0.000265 | 0.000665 | 0.001133 | 0.001508 | 0.001844 | 0.002484 | 0.003082 | 0.003768 | 0.004347 | 0.00487 | 0.005479 | 0.006011 | 0.005879
-0.002982 | -0.003219 | -0.00336 | -0.003402 | -0.003387 | -0.003263 | -0.003143 | -0.003091 | -0.002924 | -0.002808 | -0.002599 | -0.002464 | -0.00231 | -0.002254 | -0.002116 | -0.001983 | -0.001845 | -0.001767 | -0.001596 | -0.001377 | -0.001144 | -0.000873 | -0.00056 | -0.000377 | 0 | 0.000263 | 0.000615 | 0.001073 | 0.001406 | 0.00175 | 0.002322 | 0.002832 | 0.003445 | 0.003976 | 0.004467 | 0.005078 | 0.005579 | 0.005487
-0.002572 | -0.00287 | -0.003114 | -0.003221 | -0.003262 | -0.00324 | -0.003119 | -0.003021 | -0.002841 | -0.002727 | -0.002571 | -0.002421 | -0.002303 | -0.002295 | -0.002103 | -0.001971 | -0.001831 | -0.001772 | -0.001517 | -0.00136 | -0.001137 | -0.00081 | -0.000589 | -0.000367 | 0 | 0.000269 | 0.000592 | 0.001044 | 0.001327 | 0.001643 | 0.002173 | 0.002743 | 0.003268 | 0.003805 | 0.004285 | 0.004902 | 0.005337 | 0.005248
-0.002275 | -0.002648 | -0.002855 | -0.003013 | -0.003053 | -0.003007 | -0.002944 | -0.002835 | -0.002665 | -0.002632 | -0.002545 | -0.002366 | -0.002229 | -0.002161 | -0.001998 | -0.001876 | -0.001789 | -0.001666 | -0.001534 | -0.001329 | -0.001083 | -0.000815 | -0.000557 | -0.000332 | 0 | 0.00024 | 0.000586 | 0.000998 | 0.00132 | 0.001575 | 0.002114 | 0.002615 | 0.003138 | 0.003624 | 0.004092 | 0.004671 | 0.005078 | 0.005002
-0.002099 | -0.002415 | -0.002693 | -0.002808 | -0.002856 | -0.002852 | -0.002823 | -0.002804 | -0.002695 | -0.002601 | -0.002469 | -0.002308 | -0.002237 | -0.002206 | -0.00207 | -0.001929 | -0.001852 | -0.001713 | -0.001515 | -0.001309 | -0.001126 | -0.000807 | -0.000572 | -0.000356 | 0 | 0.000254 | 0.00061 | 0.000975 | 0.001253 | 0.001536 | 0.002025 | 0.002502 | 0.002979 | 0.003446 | 0.003866 | 0.004462 | 0.004883 | 0.004829
-0.001297 | -0.00173 | -0.002055 | -0.00231 | -0.002438 | -0.002489 | -0.002428 | -0.002412 | -0.002324 | -0.00225 | -0.002212 | -0.002117 | -0.00204 | -0.002019 | -0.001904 | -0.001757 | -0.001682 | -0.001641 | -0.001414 | -0.001215 | -0.001024 | -0.000759 | -0.000511 | -0.000301 | 0 | 0.000266 | 0.00057 | 0.000919 | 0.0012 | 0.001435 | 0.001868 | 0.002326 | 0.002799 | 0.003197 | 0.003627 | 0.004188 | 0.004595 | 0.004548
-0.000578 | -0.00106 | -0.001389 | -0.001681 | -0.00186 | -0.001911 | -0.001943 | -0.001985 | -0.001944 | -0.001942 | -0.001967 | -0.001839 | -0.00182 | -0.001773 | -0.00169 | -0.001616 | -0.001559 | -0.001502 | -0.001365 | -0.001141 | -0.000996 | -0.000731 | -0.000498 | -0.00034 | 0 | 0.000232 | 0.000542 | 0.000876 | 0.00114 | 0.001375 | 0.001804 | 0.002223 | 0.002643 | 0.003046 | 0.003442 | 0.003942 | 0.004382 | 0.004321
-5.2e-05 | -0.000537 | -0.000964 | -0.001267 | -0.001443 | -0.001561 | -0.001618 | -0.001682 | -0.001686 | -0.001707 | -0.001716 | -0.001641 | -0.001647 | -0.001655 | -0.001541 | -0.001532 | -0.001478 | -0.001422 | -0.001257 | -0.001088 | -0.00094 | -0.000654 | -0.000506 | -0.000348 | 0 | 0.000243 | 0.000537 | 0.000854 | 0.001068 | 0.001299 | 0.001679 | 0.002098 | 0.00247 | 0.002858 | 0.003267 | 0.003769 | 0.004172 | 0.004124
0.000455 | -0.000107 | -0.000564 | -0.000926 | -0.001169 | -0.001288 | -0.001348 | -0.001423 | -0.001412 | -0.001464 | -0.001549 | -0.001499 | -0.001523 | -0.001532 | -0.001463 | -0.001422 | -0.001347 | -0.001359 | -0.001189 | -0.001059 | -0.000849 | -0.00062 | -0.000461 | -0.00027 | 0 | 0.000246 | 0.000533 | 0.000811 | 0.001055 | 0.001254 | 0.001621 | 0.001992 | 0.002379 | 0.002756 | 0.003153 | 0.003612 | 0.004016 | 0.004013
0.000784 | 0.000227 | -0.000208 | -0.000554 | -0.000792 | -0.000935 | -0.001075 | -0.001191 | -0.001215 | -0.001324 | -0.001403 | -0.001367 | -0.001408 | -0.001433 | -0.001382 | -0.001374 | -0.001361 | -0.001327 | -0.001182 | -0.001033 | -0.000912 | -0.000695 | -0.000452 | -0.000316 | 0 | 0.000227 | 0.000496 | 0.000815 | 0.001023 | 0.001261 | 0.001608 | 0.001986 | 0.002308 | 0.002684 | 0.003078 | 0.003529 | 0.003913 | 0.003901
0.001368 | 0.000783 | 0.000266 | -0.000152 | -0.000431 | -0.000637 | -0.000787 | -0.000905 | -0.000981 | -0.001047 | -0.001129 | -0.001157 | -0.001235 | -0.001285 | -0.001267 | -0.00128 | -0.001267 | -0.001236 | -0.00111 | -0.000972 | -0.000843 | -0.000636 | -0.000437 | -0.00029 | 0 | 0.00024 | 0.000491 | 0.000733 | 0.000961 | 0.001189 | 0.001506 | 0.001894 | 0.002213 | 0.0026 | 0.002963 | 0.003432 | 0.003765 | 0.003803
0.001826 | 0.001135 | 0.000602 | 0.000143 | -0.000174 | -0.000392 | -0.000522 | -0.000662 | -0.000757 | -0.000897 | -0.001067 | -0.001076 | -0.001151 | -0.001217 | -0.001226 | -0.00122 | -0.001198 | -0.001213 | -0.001117 | -0.000959 | -0.000795 | -0.000639 | -0.000456 | -0.000257 | 0 | 0.000182 | 0.000433 | 0.000691 | 0.000904 | 0.001132 | 0.001487 | 0.001866 | 0.002199 | 0.002554 | 0.002946 | 0.003383 | 0.0037 | 0.003736
0.002084 | 0.001434 | 0.000884 | 0.000431 | 0.000116 | -9.3e-05 | -0.000323 | -0.0005 | -0.000618 | -0.000739 | -0.000884 | -0.000894 | -0.001026 | -0.001105 | -0.001129 | -0.001165 | -0.001221 | -0.001158 | -0.00108 | -0.000921 | -0.000793 | -0.000607 | -0.00046 | -0.000278 | 0 | 0.000212 | 0.00043 | 0.000704 | 0.000885 | 0.001124 | 0.001456 | 0.001847 | 0.002178 | 0.00254 | 0.002905 | 0.003327 | 0.003696 | 0.003735
0.002198 | 0.001531 | 0.000946 | 0.000452 | 0.000125 | -0.000104 | -0.000285 | -0.000456 | -0.000578 | -0.000702 | -0.000872 | -0.000963 | -0.001085 | -0.001181 | -0.00118 | -0.00121 | -0.001214 | -0.001176 | -0.001094 | -0.000968 | -0.000811 | -0.000608 | -0.00048 | -0.000271 | 0 | 0.000217 | 0.000453 | 0.000684 | 0.000899 | 0.001132 | 0.0015 | 0.00188 | 0.002244 | 0.002625 | 0.003003 | 0.003421 | 0.003757 | 0.003808
0.001939 | 0.00124 | 0.000701 | 0.000248 | -7.1e-05 | -0.000265 | -0.000445 | -0.000608 | -0.000721 | -0.000882 | -0.001043 | -0.001071 | -0.001165 | -0.001228 | -0.001221 | -0.001257 | -0.001246 | -0.001237 | -0.001156 | -0.001018 | -0.000839 | -0.000687 | -0.000477 | -0.000271 | 0 | 0.000212 | 0.000471 | 0.00073 | 0.000962 | 0.001192 | 0.001577 | 0.001982 | 0.002369 | 0.002742 | 0.003084 | 0.003464 | 0.003807 | 0.003884
0.001761 | 0.001125 | 0.000582 | 0.000163 | -0.000145 | -0.00034 | -0.000539 | -0.000699 | -0.000827 | -0.000925 | -0.001062 | -0.001088 | -0.00123 | -0.001305 | -0.001305 | -0.001316 | -0.001365 | -0.001302 | -0.001192 | -0.001028 | -0.000893 | -0.000694 | -0.000489 | -0.000307 | 0 | 0.000205 | 0.000487 | 0.000723 | 0.00092 | 0.001171 | 0.001527 | 0.001897 | 0.002271 | 0.002663 | 0.003026 | 0.003427 | 0.003782 | 0.003827
0.001955 | 0.001265 | 0.000675 | 0.000184 | -0.000147 | -0.000382 | -0.000515 | -0.000676 | -0.000784 | -0.000927 | -0.001088 | -0.001163 | -0.001255 | -0.001338 | -0.001311 | -0.001307 | -0.001312 | -0.001318 | -0.001196 | -0.001057 | -0.000885 | -0.000705 | -0.000474 | -0.000256 | 0 | 0.000247 | 0.000501 | 0.000773 | 0.000964 | 0.001229 | 0.001595 | 0.001972 | 0.002331 | 0.002704 | 0.003049 | 0.003427 | 0.00377 | 0.003835
0.001994 | 0.001312 | 0.000776 | 0.000322 | 7e-06 | -0.00019 | -0.000373 | -0.000544 | -0.000677 | -0.000847 | -0.001001 | -0.000998 | -0.001138 | -0.001204 | -0.001242 | -0.001264 | -0.001275 | -0.001253 | -0.001166 | -0.000991 | -0.000857 | -0.000686 | -0.00047 | -0.000294 | 0 | 0.00022 | 0.000465 | 0.000736 | 0.000927 | 0.001182 | 0.0015 | 0.001876 | 0.002192 | 0.002559 | 0.002894 | 0.003251 | 0.003629 | 0.003688
0.002084 | 0.001435 | 0.000851 | 0.000374 | 5.5e-05 | -0.000172 | -0.000379 | -0.000536 | -0.000662 | -0.000785 | -0.000932 | -0.000978 | -0.001109 | -0.001195 | -0.001211 | -0.001255 | -0.001272 | -0.001245 | -0.001125 | -0.000981 | -0.000852 | -0.00068 | -0.000477 | -0.000278 | 0 | 0.000207 | 0.000484 | 0.000731 | 0.000905 | 0.001134 | 0.001443 | 0.001758 | 0.002101 | 0.00246 | 0.002763 | 0.003169 | 0.00355 | 0.003593
0.001429 | 0.000876 | 0.000498 | 0.000154 | -5.8e-05 | -0.000199 | -0.000303 | -0.000454 | -0.000514 | -0.000699 | -0.000815 | -0.000831 | -0.000923 | -0.000985 | -0.00099 | -0.001026 | -0.001039 | -0.00105 | -0.000968 | -0.00083 | -0.000724 | -0.000564 | -0.000402 | -0.000268 | 0 | 0.000188 | 0.000397 | 0.000636 | 0.000856 | 0.001157 | 0.00161 | 0.002084 | 0.002574 | 0.003086 | 0.003573 | 0.004085 | 0.004593 | 0.004625
0.001428 | 0.00089 | 0.000429 | 1.6e-05 | -0.000265 | -0.000434 | -0.000616 | -0.000739 | -0.000759 | -0.000846 | -0.000922 | -0.000889 | -0.000923 | -0.001033 | -0.001043 | -0.001094 | -0.001092 | -0.001077 | -0.000954 | -0.000837 | -0.00073 | -0.000588 | -0.000405 | -0.000249 | 0 | 0.000173 | 0.000386 | 0.000621 | 0.00083 | 0.00102 | 0.001446 | 0.00188 | 0.00238 | 0.002863 | 0.003318 | 0.003854 | 0.004328 | 0.004362
0.001547 | 0.000981 | 0.000528 | 0.000142 | -0.000121 | -0.000309 | -0.000412 | -0.000538 | -0.000574 | -0.00072 | -0.000836 | -0.000898 | -0.000987 | -0.001062 | -0.001063 | -0.001077 | -0.001062 | -0.00107 | -0.000969 | -0.000839 | -0.000723 | -0.000563 | -0.000421 | -0.000267 | 0 | 0.000178 | 0.000378 | 0.000577 | 0.000742 | 0.000925 | 0.00129 | 0.001746 | 0.002223 | 0.002633 | 0.003078 | 0.003624 | 0.004057 | 0.0041
0.001703 | 0.001089 | 0.000646 | 0.000226 | -4.4e-05 | -0.000211 | -0.000386 | -0.00054 | -0.000612 | -0.000774 | -0.000902 | -0.000889 | -0.000996 | -0.001062 | -0.001076 | -0.001083 | -0.001107 | -0.001069 | -0.001005 | -0.000845 | -0.000713 | -0.00056 | -0.000405 | -0.000261 | 0 | 0.000175 | 0.000356 | 0.000552 | 0.000677 | 0.000876 | 0.001223 | 0.001623 | 0.002046 | 0.002452 | 0.002877 | 0.003386 | 0.003841 | 0.003874
0.001908 | 0.001316 | 0.00082 | 0.000389 | 0.000101 | -9.5e-05 | -0.000259 | -0.000397 | -0.000469 | -0.000592 | -0.000741 | -0.000777 | -0.000883 | -0.000967 | -0.000976 | -0.001007 | -0.001034 | -0.001009 | -0.00092 | -0.000801 | -0.000672 | -0.000529 | -0.000391 | -0.000256 | 0 | 0.000197 | 0.000372 | 0.000557 | 0.000703 | 0.000836 | 0.001153 | 0.001541 | 0.001935 | 0.00236 | 0.002763 | 0.003298 | 0.003721 | 0.003757
0.001861 | 0.001234 | 0.000772 | 0.000367 | 9.4e-05 | -9.6e-05 | -0.00022 | -0.00038 | -0.000439 | -0.000616 | -0.000767 | -0.000804 | -0.000914 | -0.000978 | -0.001002 | -0.001008 | -0.001022 | -0.001034 | -0.000937 | -0.000835 | -0.000712 | -0.000553 | -0.000428 | -0.000254 | 0 | 0.000166 | 0.000338 | 0.000519 | 0.000658 | 0.000805 | 0.001093 | 0.001464 | 0.001843 | 0.002196 | 0.00261 | 0.003079 | 0.003526 | 0.003554
0.001795 | 0.001188 | 0.000723 | 0.000302 | 1.6e-05 | -0.000182 | -0.000356 | -0.000501 | -0.000583 | -0.000688 | -0.000822 | -0.000806 | -0.000929 | -0.000988 | -0.001015 | -0.001052 | -0.001054 | -0.001037 | -0.000929 | -0.000789 | -0.000698 | -0.000536 | -0.000376 | -0.000249 | 0 | 0.00015 | 0.000339 | 0.000502 | 0.000625 | 0.000755 | 0.001044 | 0.001358 | 0.001697 | 0.002081 | 0.002453 | 0.002913 | 0.003372 | 0.003396
0.001873 | 0.001269 | 0.000771 | 0.00034 | 6.4e-05 | -0.000133 | -0.000293 | -0.000428 | -0.000494 | -0.000621 | -0.000766 | -0.000813 | -0.00087 | -0.000913 | -0.000917 | -0.000921 | -0.000933 | -0.000947 | -0.000847 | -0.000739 | -0.000611 | -0.000491 | -0.000349 | -0.000229 | 0 | 0.000203 | 0.000382 | 0.000554 | 0.000655 | 0.000771 | 0.001025 | 0.001357 | 0.001711 | 0.002042 | 0.002413 | 0.002906 | 0.003304 | 0.003338
0.001798 | 0.001177 | 0.000696 | 0.000258 | -2e-05 | -0.000229 | -0.000341 | -0.000499 | -0.000575 | -0.000745 | -0.000904 | -0.0009 | -0.001013 | -0.001081 | -0.001058 | -0.000978 | -0.000997 | -0.001008 | -0.000911 | -0.000793 | -0.000676 | -0.000537 | -0.000396 | -0.000238 | 0 | 0.000173 | 0.000327 | 0.000513 | 0.000639 | 0.000718 | 0.000966 | 0.001267 | 0.001581 | 0.001888 | 0.002268 | 0.002701 | 0.003114 | 0.003138
0.001788 | 0.001176 | 0.000694 | 0.000267 | -7e-06 | -0.000219 | -0.000386 | -0.000518 | -0.000614 | -0.000733 | -0.000869 | -0.000879 | -0.000984 | -0.001065 | -0.00104 | -0.001029 | -0.001026 | -0.001038 | -0.000919 | -0.00079 | -0.000684 | -0.00054 | -0.000384 | -0.000264 | 0 | 0.000171 | 0.000373 | 0.000503 | 0.000647 | 0.000742 | 0.00099 | 0.001258 | 0.001553 | 0.001892 | 0.002226 | 0.002692 | 0.003118 | 0.003142
0.00185 | 0.0012 | 0.000688 | 0.00026 | -3.4e-05 | -0.000229 | -0.000373 | -0.000513 | -0.000596 | -0.000706 | -0.000841 | -0.000867 | -0.000909 | -0.000961 | -0.000954 | -0.000977 | -0.001003 | -0.000994 | -0.000903 | -0.000787 | -0.000687 | -0.000522 | -0.000398 | -0.00024 | 0 | 0.000175 | 0.00035 | 0.000505 | 0.000643 | 0.000734 | 0.000971 | 0.001235 | 0.001523 | 0.00186 | 0.002201 | 0.002667 | 0.003024 | 0.003079
0.001854 | 0.001166 | 0.000695 | 0.000283 | 1e-06 | -0.000175 | -0.000289 | -0.000429 | -0.000494 | -0.000657 | -0.00078 | -0.000781 | -0.000889 | -0.000957 | -0.000985 | -0.001004 | -0.001005 | -0.000971 | -0.000905 | -0.00079 | -0.000669 | -0.000531 | -0.000397 | -0.000257 | 0 | 0.000168 | 0.000353 | 0.000543 | 0.000636 | 0.000787 | 0.000986 | 0.001265 | 0.001525 | 0.001825 | 0.002172 | 0.00258 | 0.002983 | 0.003028
0.001942 | 0.001329 | 0.000836 | 0.000431 | 0.000153 | -7.4e-05 | -0.000262 | -0.000379 | -0.000467 | -0.000593 | -0.000722 | -0.00075 | -0.000844 | -0.000936 | -0.000939 | -0.00098 | -0.000993 | -0.000964 | -0.000879 | -0.000757 | -0.000645 | -0.000529 | -0.00037 | -0.000241 | 0 | 0.000183 | 0.000388 | 0.000563 | 0.000644 | 0.000764 | 0.000979 | 0.001213 | 0.001497 | 0.001794 | 0.00211 | 0.002553 | 0.002944 | 0.002989
0.001972 | 0.001313 | 0.000794 | 0.000358 | 7e-05 | -0.000144 | -0.000274 | -0.000404 | -0.000496 | -0.000647 | -0.000781 | -0.000808 | -0.000893 | -0.00096 | -0.000952 | -0.000962 | -0.001 | -0.000986 | -0.000915 | -0.000776 | -0.00065 | -0.00051 | -0.000374 | -0.000205 | 0 | 0.000216 | 0.000389 | 0.000595 | 0.000717 | 0.000841 | 0.001048 | 0.001318 | 0.001579 | 0.001869 | 0.002201 | 0.002618 | 0.002963 | 0.003021
0.001837 | 0.001182 | 0.0007 | 0.000275 | -1.5e-05 | -0.000208 | -0.000363 | -0.000498 | -0.000571 | -0.000733 | -0.000854 | -0.000826 | -0.000915 | -0.001001 | -0.001 | -0.001012 | -0.001034 | -0.000991 | -0.000912 | -0.000773 | -0.00067 | -0.000548 | -0.000403 | -0.000238 | 0 | 0.000158 | 0.000384 | 0.00055 | 0.000647 | 0.000774 | 0.000975 | 0.001212 | 0.001449 | 0.00172 | 0.002035 | 0.002419 | 0.002808 | 0.002869
0.002102 | 0.001455 | 0.000945 | 0.000498 | 0.000212 | -3e-06 | -0.000168 | -0.000306 | -0.000413 | -0.00051 | -0.000671 | -0.000688 | -0.000811 | -0.000886 | -0.000888 | -0.000897 | -0.00094 | -0.00093 | -0.000852 | -0.000732 | -0.000634 | -0.000505 | -0.000374 | -0.000237 | 0 | 0.000167 | 0.00037 | 0.000558 | 0.00067 | 0.000807 | 0.001025 | 0.00125 | 0.001511 | 0.001817 | 0.002115 | 0.002525 | 0.002903 | 0.002953
0.002034 | 0.001354 | 0.000823 | 0.000372 | 4.7e-05 | -0.000155 | -0.000302 | -0.000462 | -0.000556 | -0.000727 | -0.000876 | -0.000894 | -0.000981 | -0.00102 | -0.001033 | -0.001015 | -0.001075 | -0.00103 | -0.000926 | -0.000812 | -0.000716 | -0.00055 | -0.000397 | -0.00025 | 0 | 0.000165 | 0.000376 | 0.000583 | 0.000711 | 0.000855 | 0.001087 | 0.001324 | 0.001554 | 0.001826 | 0.002143 | 0.002518 | 0.00288 | 0.002946
0.002235 | 0.001544 | 0.001031 | 0.000595 | 0.00029 | 8.2e-05 | -0.000109 | -0.000269 | -0.000374 | -0.000529 | -0.000675 | -0.000683 | -0.00083 | -0.000902 | -0.000915 | -0.000948 | -0.000972 | -0.000952 | -0.000883 | -0.000728 | -0.000651 | -0.000533 | -0.0004 | -0.000262 | 0 | 0.000167 | 0.000401 | 0.000574 | 0.000725 | 0.00086 | 0.001087 | 0.001287 | 0.00155 | 0.001832 | 0.002128 | 0.002509 | 0.002899 | 0.002966
0.002344 | 0.001621 | 0.001057 | 0.000589 | 0.000268 | 3.4e-05 | -0.000137 | -0.00028 | -0.000374 | -0.000524 | -0.0007 | -0.000719 | -0.000817 | -0.000904 | -0.000913 | -0.00093 | -0.000953 | -0.000951 | -0.000857 | -0.00076 | -0.000658 | -0.000518 | -0.000351 | -0.000252 | 0 | 0.000174 | 0.000366 | 0.000583 | 0.000701 | 0.00086 | 0.001077 | 0.001306 | 0.001563 | 0.001855 | 0.002139 | 0.00252 | 0.002885 | 0.00293
0.002361 | 0.001649 | 0.001104 | 0.000638 | 0.000301 | 8.3e-05 | -8.3e-05 | -0.000267 | -0.000362 | -0.000572 | -0.000705 | -0.0007 | -0.000823 | -0.000878 | -0.00091 | -0.000906 | -0.000984 | -0.000966 | -0.000887 | -0.00075 | -0.000676 | -0.00053 | -0.000382 | -0.00027 | 0 | 0.000151 | 0.000358 | 0.000587 | 0.00072 | 0.000877 | 0.001109 | 0.001345 | 0.0016 | 0.001885 | 0.00217 | 0.002539 | 0.002893 | 0.002951
0.002304 | 0.001611 | 0.001086 | 0.000627 | 0.000324 | 9.4e-05 | -9.6e-05 | -0.000246 | -0.000318 | -0.000471 | -0.000639 | -0.000653 | -0.000794 | -0.000857 | -0.000877 | -0.000901 | -0.000919 | -0.000902 | -0.000812 | -0.000684 | -0.000627 | -0.000472 | -0.000337 | -0.000223 | 0 | 0.000184 | 0.000382 | 0.000576 | 0.000733 | 0.000876 | 0.001121 | 0.001349 | 0.001594 | 0.001886 | 0.002148 | 0.0025 | 0.002889 | 0.002931
0.002398 | 0.0017 | 0.001163 | 0.0007 | 0.000389 | 0.000157 | 8e-06 | -0.000168 | -0.000271 | -0.000442 | -0.000631 | -0.000658 | -0.000759 | -0.00083 | -0.000853 | -0.000848 | -0.000875 | -0.00088 | -0.000802 | -0.000711 | -0.000625 | -0.000495 | -0.000369 | -0.000249 | 0 | 0.000141 | 0.000335 | 0.00056 | 0.000694 | 0.00085 | 0.001112 | 0.001349 | 0.001624 | 0.001893 | 0.002131 | 0.002502 | 0.002849 | 0.002882
0.002461 | 0.001788 | 0.001261 | 0.000821 | 0.000466 | 0.000222 | 6.1e-05 | -0.000124 | -0.000232 | -0.000437 | -0.000585 | -0.000561 | -0.000697 | -0.000763 | -0.000816 | -0.000839 | -0.000878 | -0.000874 | -0.000763 | -0.00064 | -0.000625 | -0.000458 | -0.000327 | -0.000219 | 0 | 0.000135 | 0.000358 | 0.000554 | 0.000689 | 0.000871 | 0.001132 | 0.00139 | 0.001627 | 0.0019 | 0.002137 | 0.002508 | 0.002835 | 0.002865
0.002401 | 0.001733 | 0.00123 | 0.000776 | 0.000476 | 0.000242 | 6.5e-05 | -0.000107 | -0.000199 | -0.000343 | -0.000506 | -0.000531 | -0.000663 | -0.000739 | -0.000775 | -0.000794 | -0.000842 | -0.000829 | -0.000751 | -0.00064 | -0.000591 | -0.000462 | -0.000327 | -0.000209 | 0 | 0.000153 | 0.000329 | 0.000531 | 0.000696 | 0.000814 | 0.001099 | 0.001306 | 0.001568 | 0.001864 | 0.002054 | 0.002399 | 0.002765 | 0.002788
0.00272 | 0.002027 | 0.001478 | 0.001024 | 0.000704 | 0.000459 | 0.000278 | 0.000107 | -2e-05 | -0.000208 | -0.0004 | -0.000417 | -0.000528 | -0.000656 | -0.000695 | -0.000743 | -0.000746 | -0.00077 | -0.000724 | -0.000612 | -0.000534 | -0.000413 | -0.000301 | -0.000206 | 0 | 9.8e-05 | 0.000267 | 0.000485 | 0.000619 | 0.000762 | 0.001019 | 0.001218 | 0.001443 | 0.001711 | 0.001916 | 0.00224 | 0.002586 | 0.002626
0.002714 | 0.002033 | 0.001504 | 0.001061 | 0.00073 | 0.000491 | 0.000325 | 0.000143 | 2.5e-05 | -0.000144 | -0.000315 | -0.000345 | -0.000457 | -0.000569 | -0.000637 | -0.000657 | -0.000721 | -0.000717 | -0.000653 | -0.000543 | -0.000515 | -0.000396 | -0.000269 | -0.000196 | 0 | 0.000105 | 0.000288 | 0.000442 | 0.000539 | 0.000671 | 0.00094 | 0.001111 | 0.00134 | 0.001555 | 0.001739 | 0.002081 | 0.002426 | 0.002454
0.002623 | 0.00195 | 0.001422 | 0.000969 | 0.000669 | 0.000418 | 0.000244 | 8.1e-05 | -1.3e-05 | -0.000184 | -0.000344 | -0.000389 | -0.00049 | -0.000614 | -0.000681 | -0.00066 | -0.000755 | -0.000752 | -0.000686 | -0.00058 | -0.000546 | -0.000452 | -0.000317 | -0.000237 | 0 | 4.4e-05 | 0.00022 | 0.000408 | 0.000509 | 0.000592 | 0.000845 | 0.001004 | 0.001219 | 0.001476 | 0.001626 | 0.001964 | 0.002319 | 0.002335
0.003054 | 0.002354 | 0.001783 | 0.001291 | 0.000959 | 0.000695 | 0.000532 | 0.000338 | 0.000228 | 2.2e-05 | -0.000153 | -0.000195 | -0.00028 | -0.000411 | -0.000523 | -0.000524 | -0.000628 | -0.000613 | -0.000561 | -0.000509 | -0.000477 | -0.000396 | -0.000274 | -0.000194 | 0 | 6.7e-05 | 0.000199 | 0.000361 | 0.000413 | 0.000531 | 0.000783 | 0.000904 | 0.001141 | 0.001311 | 0.001491 | 0.001812 | 0.002203 | 0.002196
0.002604 | 0.001951 | 0.001407 | 0.000974 | 0.00069 | 0.000432 | 0.000297 | 0.000122 | 7.1e-05 | -0.000102 | -0.000253 | -0.000244 | -0.000372 | -0.000495 | -0.000577 | -0.000573 | -0.000665 | -0.000634 | -0.000573 | -0.000533 | -0.00052 | -0.000381 | -0.000254 | -0.000199 | 0 | 0.000116 | 0.000223 | 0.00041 | 0.000486 | 0.000543 | 0.000772 | 0.000924 | 0.001167 | 0.001359 | 0.001537 | 0.00189 | 0.002252 | 0.002248
0.002632 | 0.001951 | 0.001394 | 0.000927 | 0.000607 | 0.00041 | 0.000293 | 0.000106 | 8e-06 | -0.000149 | -0.000278 | -0.000255 | -0.000391 | -0.000514 | -0.000569 | -0.000557 | -0.00066 | -0.00068 | -0.000592 | -0.000519 | -0.000509 | -0.000367 | -0.000257 | -0.000206 | 0 | 5.4e-05 | 0.00022 | 0.00041 | 0.00051 | 0.000609 | 0.000829 | 0.000995 | 0.001261 | 0.00147 | 0.001661 | 0.002036 | 0.002426 | 0.002371
0.002887 | 0.002169 | 0.001591 | 0.001134 | 0.000821 | 0.000592 | 0.000426 | 0.000286 | 0.000173 | -7e-06 | -0.000174 | -0.000124 | -0.000247 | -0.000381 | -0.000476 | -0.00047 | -0.000542 | -0.000588 | -0.000527 | -0.000457 | -0.000493 | -0.00036 | -0.000252 | -0.000251 | 0 | 4e-05 | 0.000171 | 0.000336 | 0.000485 | 0.000565 | 0.000808 | 0.000997 | 0.001227 | 0.001453 | 0.001705 | 0.002061 | 0.00248 | 0.002436
0.002599 | 0.001916 | 0.00135 | 0.000888 | 0.000607 | 0.000398 | 0.000271 | 0.00014 | 0.000123 | -6.1e-05 | -0.000192 | -0.000157 | -0.000241 | -0.000407 | -0.000423 | -0.000466 | -0.000525 | -0.000557 | -0.000482 | -0.000417 | -0.00049 | -0.00036 | -0.000218 | -0.000233 | 0 | 8.6e-05 | 0.000207 | 0.00041 | 0.000575 | 0.00062 | 0.000865 | 0.001117 | 0.001407 | 0.001665 | 0.001883 | 0.002299 | 0.002713 | 0.002656
0.002016 | 0.001357 | 0.000847 | 0.000404 | 0.000187 | 2e-06 | -8.5e-05 | -0.000246 | -0.000248 | -0.000408 | -0.000492 | -0.000429 | -0.000485 | -0.000606 | -0.000666 | -0.000663 | -0.000698 | -0.000698 | -0.000578 | -0.000521 | -0.000539 | -0.000395 | -0.000222 | -0.000182 | 0 | 9e-05 | 0.000301 | 0.000506 | 0.000699 | 0.000814 | 0.00107 | 0.001343 | 0.00158 | 0.001882 | 0.00212 | 0.002521 | 0.002976 | 0.002895
0.001935 | 0.001259 | 0.000718 | 0.000333 | 9.3e-05 | -0.000107 | -0.000198 | -0.000306 | -0.000363 | -0.000468 | -0.00052 | -0.000497 | -0.000574 | -0.000704 | -0.000706 | -0.000774 | -0.000762 | -0.000819 | -0.000709 | -0.000594 | -0.000633 | -0.000473 | -0.000342 | -0.0003 | 0 | 3.9e-05 | 0.00021 | 0.000521 | 0.000659 | 0.000806 | 0.001077 | 0.001354 | 0.001626 | 0.001915 | 0.00213 | 0.002606 | 0.002991 | 0.002894