## Moorings
Mooring OOIBARCODE | Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
A00966 | GI05MOAS-GL484 | 484 | 2 | 2015-08-17 | 10:25 | 2015-08-27 | 59° 51.600' N | 39° 07.900' W | 1000 | AT-30-01 |  | 59.86 | -39.1317

## Asset_Cal_Info
Ref Des | Mooring OOIBARCODE | Mooring Serial Number | Deployment Number | Sensor OOIBARCODE | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GI05MOAS-GL484-01-FLORDM000 | A00966 | 484 | 2 | N00530 | FLBBSLC-3550 | CC_scattering_angle | 140 | Constant.
GI05MOAS-GL484-01-FLORDM000 | A00966 | 484 | 2 | N00530 | FLBBSLC-3550 | CC_measurement_wavelength | 700 | Constant.
GI05MOAS-GL484-01-FLORDM000 | A00966 | 484 | 2 | N00530 | FLBBSLC-3550 | CC_angular_resolution | 1.13 | Constant.
GI05MOAS-GL484-01-FLORDM000 | A00966 | 484 | 2 | N00530 | FLBBSLC-3550 | CC_depolarization_ratio | 0.039 | Constant.
GI05MOAS-GL484-02-DOSTAM000 | A00966 | 484 | 2 | N00529 | 324 |  |  | No calibration coefficient
GI05MOAS-GL484-04-CTDGVM000 | A00966 | 484 | 2 | N00528 | 9195 |  |  | No calibration coefficient
GI05MOAS-GL484-00-ENG000000 | A00966 | 484 | 2 |  | 484 |  |  | No calibration coefficient